## Slide 1: What needs to be covered
e’
t
(Q2)
e
gL*
x+ξ
x-ξ
H, H, E, E (x,ξ,t)
~
~
g, p,J/Y
p
p’
Inclusive Reactions:
Momentum/energy and angular resolution of e’ critical
Very good electron id
Moderate luminosity >1032 cm-1 s-1
Need low x ~10-4  high √s (Saturation and spin physics)
Semi-inclusive Reactions:
Excellent particle ID: p,K,p separation over a wide range in h
full F-coverage around g*
Excellent vertex resolution  Charm, bottom identification
high luminosity >1033 cm-1 s-1 (5d binning (x,Q2,z, pt,F))
Need low x ~10-4  high √s
Exclusive Reactions:
Exclusivity  high rapidity coverage  rapidity gap events
high resolution in t  Roman pots
high luminosity >1033 cm-1 s-1 (4d binning (x,Q2,t,F))

## Slide 2: DIS Kinematics
y=0.05
y=0.85
Strong x-Q2 correlation
  high x  high Q2
  low x  low Q2
low y limited by
resolution for e’
 use hadron method
high y limited by
radiative corrections
can be suppressed by
by requiring hadronic
activity
HERA
y>0.005
Potential limitations in kinematic coverage:

## Slide 3: DVCS: ep  e’p’g
cuts: Q2>1.0GeV2 && 0.01<y<0.9
&& Eg>1GeV
With increasing
lepton energy
real photon is
boosted even more
in electron beam
direction

## Slide 4: Detector technology concepts
Si-Vertex
  MAPS technology from IPHC ala STAR, CBM, Alice, …
    Barrel:
    4 double sided layers @ 3. 5.5 8. 15. cm 10 sectors in F
    chip 20mm x 30mm ---> 1cm 300 pixel pitch 33 micron dual readout, one column 60 ms readout time
    Forward Disks:
    4 single sided disks spaced in z starting from 20cm
    Radial extension 3 (19 mm pixel) to 12 cm (75 mm pixel), dual sided readout
Barrel Tracking
  Preferred technology TPC (alternative GEM-Barrel tracker Mass???)
    Low mass, PID e/h via dE/dx
Forward tracking
  GEM-Trackers
Forward/Backward RICH-Detectors
  Momenta to be covered: 0.5-80 GeV for 2<|y|<5
  Technology:
    Dual Radiator (HERMES, LHCb) Aerogel+Gas (C4F10 or C4F8O)
  Photondetector: low sensitivity to magnetic field

## Slide 5: Detector technology concepts
Barrel PID-Detectors
  Momenta to be covered 0.5-10 GeV for -2<y<2
  Technology:
    Aerogel Proximity focusing RICH
    DIRC
ECal:
  Backward/Barrel:
    PbW-crystal calorimeter  great resolution, small Molière radius  electron-ID: e/p, measure lepton via Ecal, important for DVCS
  Forward:
    Less demanding: sampling calorimeter
Preshower
  Si-W technology as proosed for PHENIX MPCEX
Hcal/m-Detectors
  Not obvious they are really needed
Luminosity monitor, electron and hadron polarimeters

## Slide 6: Integration into Machine: IR-Design
space for
low-Q e-tagger
Outgoing electron direction currently under detailed design
detect low Q2 scattered leptons
want to use the vertical bend to separate very low-Q e’ from beam-electrons
can make bend faster for outgoing beam  faster separation
for 0.1o<Q<1o will add calorimetry after the main detector

## Slide 7: Kinematics of Breakup Neutrons
Results from GEMINI++ for 50 GeV Au
by Thomas Ullrich
+/-5mrad acceptance seems sufficient
Results:
With an aperture of ±3 mrad we are in relative good shape
• enough “detection” power for t > 0.025 GeV2
• below t ~ 0.02 GeV2 we have to look into photon detection
‣ Is it needed?
Question:
For some physics rejection power for incoherent is needed ~104
 How efficient can the ZDCs be made?

## Slide 8: Diffractive Physics: p’ kinematics
5x250
5x100
5x50
t=(p4-p2)2 = 2[(mpin.mpout)-(EinEout - pzinpzout)]
 “ Roman Pots” acceptance studies see later
?
Diffraction:
p’
Simulations by J.H Lee

## Slide 9: proton distribution in y vs x at s=20 m
25x250
5x50
without quadrupole aperture limit
25x250
5x50
with quadrupole aperture limit

## Slide 10: Accepted in“Roman Pot”(example) at s=20m
25x250
5x50
25x250
5x50
Generated
Quad aperture limited
RP (at 20m) accepted

## Slide 11: How to detect coherent/in-coherent events in ep/A ?
e+p/A  e’+p’/A’ + g / J/ψ / r / f / jet
Challenges to detect p’/A’
  Beam angular divergence limits smallest outgoing Qmin for p/A that can be measured
  Can measure the nucleus if it is separated from the beam in Si (Roman Pot) “beamline” detectors
    pTmin ~ pzA θmin
      For beam energies = 100 GeV/n and θmin = 0.1 mrad
  Large momentum kicks, much larger
  than binding energy (~8 MeV)
    For large A, coherently diffractive nucleus
    cannot be separated from beamline
    without breaking up
     break up neutron detection
     veto incoherent events
pt=√t
incoherent dominates at a t at 1/e
of coherent cross section
 pt << ptmin

## Slide 12: How to detect coherent/in-coherent events in ep/A ?
Rely on rapidity gap method
  simulations look good
  clear difference between DIS and
  diffractive events
  high eff. high purity
  possible with gap alone
    ~1% contamination
    ~80% efficiency
  depends critical on detector
  hermeticity
    However, reduce the acceptance by 1 or 2 units of rapidity and these values drop significantly
  improve further by veto on
  breakup of nuclei (DIS)
Very critical
  mandatory to detect nuclear
  fragments from breakup
  n: Zero-Degree calorimeter
  p, A frag: Forward Spectrometer
Rapidity
Purity
Efficiency
Rapidity