## Slide 1: Status 09/10/2011 Kun & Ming
External pulse calibrations: done
  Timing relative to cosmic trigger
HV scan: done
  HV plateau for the first hits, step=100V
  # of after pulses per trigger for a given HV setting
TDC spectra for all channels: done
  1st hits
  Other hits (2nd, 3rd…)
Channel mapping and “tracklet” analysis – in progress
Online Monitoring – by UIUC
Offline analysis tool – by UIUC
Swap the Ha and Va planes at next opportunity: next week?
  Investigate TWO “odd” channels
  Vaxx…
    Via TDC cards: always on…
    Via NIM->TDC: low rates
  Replace preAMP cards at next crane operation?
Conditioning prop tubes with “Negative” HV = ~2000V
http://www.phenix.bnl.gov/WWW/publish/mxliu/E906/09-10-2011/

## Slide 2: All 4 planes are (re)installed and read out via the new TDC cards
Cleaned and pained all detectors to the safety code
LV: from Exp hall
HV: from CR
Calibration w/ ext. pulser
TDC readout
  All 4x9x16 channels
Gas:
  Currently Ar/Co2
  Will switch to new gas P10+CF4
Cosmic data triggered by ST3-4 hodoscopes through E906 DAQ
St4 is ready for beams!

## Slide 3: TDC readout all 36 modules

## Slide 4: LV: 2 PS

## Slide 5: Prop Tube TDC Timing Diagram
0.0
1280 (fixed)
TDC Window
640 fixed
640
Time
(nS)
700
~200
Ext. Pulser
Prop Tube
Cosmic Signal
ΔT=713
650
1100
TDC

## Slide 6: Timing Test with External Pulser
Add additional delay 32nS and observed 34ns change:
ΔT=713
ΔT=679 (34)

## Slide 7: TDCs w/ External Pulser

## Slide 8: A typical module’s Cosmic TDC spectra (Ar/CO2: 80/20; HV = 2000V)
TDC

## Slide 9: Bad Channels
Fraction of Bad Channels:
  14/16*9*4= 2.43%

## Slide 10: HV Scan

## Slide 11: Counting House

## Slide 12: Exp. Hall