## Slide 1: A Telescope with EMCal Modules:3/5/2020
Goals – to trigger and measure the energy of
High energy electrons:
  - (Trig-1 & large dE)
High energy photons:
-(NOT Trig-1) & Trig-2 & large dE
trigger/or hit rates
Energy spectra
2 x 11 cm
2 x 11 cm
2x2 SiPM
2x2 SiPM
2x2 SiPM
readout
2x2 SiPM
4 x 4 = 16 SiPM readout channels
beam
4 EMCal modules;
16 SiPM channels
Trig-2
Trig-1
1cm Pb
EMCal: dE

## Slide 2: Readout with CAEN DT5702
beam
4 EMCal modules;
16 SiPM channels
Trig-2
Trig-1
1cm Pb
EMCal: dE
C0&C1
C2&C3
C4 … C19 [16]
Event Trigger for
High energy electrons
High energy photons
Trig-1 OR Trig-2
EMCal Energy:
Sum of C4 + … C19

## Slide 3: DarkQuest Layout, 02/18/2020
2nd EMCal
Iron absorber
~10m(?)
tracker
e+/-, gamma
DarkQuest : FY23 – 25+, one EMCal behind ST-3 tracker
LongQuest: FY25+, add 2nd EMCal + one Tracker behind the St-4 Muon ID

## Slide 4: Fermilab Beam Schedule Update: 2/18/2020
DarkQuest
LongQuest

## Slide 5: STAR Forward EMCal Readout Electronics from Fermilab Test Beam in 2019
Electronics boards available at LANL:
Power board:
  Inputs: +80V, +/-7V
  How to control the bias HV for each SiPM?
  Control software?
  LinkUSB (NOT Ethernet)?
2. SiPM 4-chan FEE board
Inputs: power and bais
Output: SiPM analogy signal?
Gain=?
SiPM model #?
3.SiPM signal patch panel
4. SiPM RX board
interface to STAR DAQ?
For SpinQuest background study:
Just readout from board SiPM FEE “2”
  4-chan per module
  4 modules, total 16 channels
1
2
3
4
@LANL Lab

## Slide 6: 4 EMCal Modules at Fermilab: SiPM Readout
1 or 2 SiPM s
Per channel ?

## Slide 7: EMCal Module at Fermilab

## Slide 8: 4 PHENIX EMCal Modules at Fermilab