## Slide 1: May E906 Work and Status
TDC readout
  One full TDC board, 4 ECL cables/modules
KTEV UCLA LV PS – Thanks Dave N.!
  +/- 5V, 18A each
  Spade /10-12AWG from ACE
HV: +2000~2200 V
Last plane (H): bottom modules 5,6,7,8
  4 ECL cables/one TDC card
TDC with global pulser
  cosmic trigger from ST4-Hodoscopes, 2H+1V
  HV off
TDC with cosmic trigger
  Global pulser ON
  HV on

## Slide 2: May 15, 2011

## Slide 3: Cosmic trigger

## Slide 4: First full TDC readout with ST4-hodoscope cosmic trigger
One TDC card (new one, w/ 2nS step)
  4x16 channels (4 cables)
Global external pulser delay = 2 uS
  External pulser connected to modul 8
Read out up to 8 samples per channel
  2nS step, 0xee1 = 3809 x 2nS = 7.618 uS
Cable-1 (mod 8; 1(top)-9(bottom))
  Some hits, but none close to “8uS”
Cable-2(mod 7)
  Most hits close to “8uS”
Cable-3(mod 6)
  No hits, bad FEM? Broken pulser input?
Cable-4(mod 5)
  Every channel has hit, and close to “8 uS”

## Slide 5: State of the art DAQ and Control

## Slide 6: Trigger and readout setup
Cosmic trig.
Delayed pulser
data
Com. stop
0
10 uS
ΔT ~ 2uS
Some after pulses (noise)
TDCs (<=8 samples)
TDC
8 uS!
8 uS
start
stop

## Slide 7: Cosmic signal and trigger/com. stop

## Slide 8: Cable-4 (mod. 5) TDC from external pulser (cosmic trigger), HV=off
8 uS!
Noisy channel!

## Slide 9: Second readout test
Global pulser Delay 5uS
Some DAQ problems
  DAQ auto self rebooting …
    Pulser causing the problem? Some grounding issues?
    DAQ runs fine without pulser
    Data volume too large? Further test needed

## Slide 10: Cosmic data!
Com. Stop delayed 5 uS
HV=2200 V
Black: all samples
Blue: the first sample only
5.0 uS

## Slide 11: Module 4: TDCs (16 chan.)

## Slide 12: Trigger, data, Com-Stop a lucky shot!

## Slide 13: The challenge: what are they?!

## Slide 14: Gifts from God

## Slide 15: LV cables

## Slide 16: Gas lines

## Slide 17: LV and HV racks

## Slide 18: To do list
LV
  Replace the cooling fans
  location
  LV cables from PS to chambers
HV
  How many channels do we need?
    4? (2 modules)
    4x9=36? (18 modules)
  Location
  Cables from PS to chambers
Signal
  Rack location
  Cables 4x9 = 36
Calibration pulser driver
  NIM able to drive all 9 modules per plane, -1V, XX mA?
  Gate generator : voltage sagging ~ [-0.5, -0.8]
Gas panels (4)

## Slide 19: Trigger