## Slide 1: Summer DAQ & Trigger Work @LANL/Fermilab
DAQ upgrade
  @LANL, standalone DAQ to develop and test new TDC FPGA code
    New TDC data format with global trigger counter
    EOS (5+55) triggered VME readout of TDCs and integration
Trigger upgrade
  @LANL, standalone DAQ to develop LVL-1 and LVL-2 readout with V1495 boards
  Integration of Trigger and DAQ
  Finalize SiPM readout via sPHENIX HCAL readout/or CDF ASDQ cards
  Build mechanical support frames: safety review

## Slide 2: E906 DAQ (TDC-II Test Stand)
PC/Linux: Jlab CODA, Ethernet Readout
CPU MVME5500: old VxWork (Jlab)
Trigger Supervisor: SIS
TDC-II, new data format
V1495 mock TDC data generator
V1495 L1 Trigger “development brd”
Windows PC: Altara FPGA programing
-CNTRL
-SIS, as TS
-TDC-II (x)
-TDC-II (x)
-(4)V1495, trigger inputs
-(1)V1495 as scintillator
Trigger pattern emulator
TDC Test Bench

## Slide 3: V1495 Board 2 Altara FPGA Chips: Cyclone-V

## Slide 4: E906 DAQ for upgrade
TDC FPGA upgrade
  hold data within a spill, only send them out on EOS signal
  55 sec for readout TDC into disk
  New TDC data format with the global Trigger_ID information
  A global Trigger_ID generated by TS
  Using known pattern (from V1495 on the test bench) to validate the new TDC code on a standalone DAQ, as we did before @WH14, single ROC
DAQ integration
  Event assembly based on the global trigger_ID/Evt_ID in one spill
  TS accepts ROC responses
  Multi ROC readout

## Slide 5: Low Mass Dark Photon Displayed Vertex Trigger
Y-Plane Trigger:
- No mass cut
- Displaced z-vertex
Coincident with St-4 Hodos(?)
Quadrant triggers? 4 x V1495
Y-channels per quadrant:
1x V1495
80(St1) + 50(St2) + 8x2 (St4-Y1,2) = 146
96+64 = 160 inputs possible
  72+72+16 = 160 ( input possible)
  (2NIM=RFCLK+ComSTOP )
  32 outputs
St1
St2
Coincident Z-vtx
window matched@L2

## Slide 6: Trigger R&D on Standalon DAQ
Road finder in each quadrant at LVL-1 V1495
  80+50+16
  Output VTX_Z and road information (N_ST1, N_ST2, N_ST3, Z_VTX) to LVL-2
AT LVL-2, make trigger decisions
  (Z_VTX, and roads information) via lookup table
  Send out trigger pattern to TS
A stand alone trigger DAQ
  Two (four) LVL-1 V1495
  One LVL-2 V1495
  One TS (SIS 3031)
  one V1495 to generate trigger hit pattern, and send them to LVL-1 to validate the performance
  (or a few TDCs for DAQ integration work)

## Slide 7: Trigger Detector Layout Schematics beam view
X
Y
80[ST01]
or 50 (ST2)
SiPMs (80/50)
Readout preAMs
cards
Trigger LVL-1
& TDC
80[ST01]
or 50 (ST2)
80[ST01]
or 50 (ST2)
80[ST01]
or 50 (ST2)
(X= -120cm)
Y = -50cm
Being tested for
SiPM Radhard
(8’ = 2.44m
above floor)
http://kuraraypsf.jp/psf/ws.html
WLSF Y-11(200):
Att_L>3.5m
Fermilab extruded
scintillators

## Slide 8: Use 8-ch ASDQ from CDF?
ASDQ
Input:
DC coupled
Outputs:
LVDS
8 SiPMs
10mm x 10mm extruded
Scintillators with
WLSF SiPM readout @FNAL
LVL-1
V1498
LVL-2
AQDQ: free from CDF
Or
sPHENIX Hcal preamps?
- modified to have rising time < 10nS
Modified sPHENIX

## Slide 9: Dark Photon Q-Trigger
Q1 (LVL1)
Q2 (LVL1)
Q3 (LVL1)
Q4 (LVL1)
LVL2
(vtxZ matching+road infor.)
4 x 16-bit from 4 Q1-4/V1495
(2 x 32LVDS cables)
Q1: 80(ST1’) + 50 (ST2’) + 2x8(ST4-Y1/2) = 146, FANOUT ST4
Up to 72(ST1) + 72 (ST2) + 2x8(ST4Y1/2) = 160
DAQ/Data stream
TS
(12 inputs total)
(1-free bit available)
DP Trigger
1-bit
DAQ Trigger
MC simulation
Dummy pattern
A test stand needed!
To check FPGA
Logic
Timing
LVDS cable 2x16ch bundle available

## Slide 10: E906 Trigger & DAQ Integration
……
Comm.
Stop/Trigger
L2-Trigger
V1495 (1)
Trigger Supervisor
Threshold Discriminator
TDC (xx)
L1-Trigger
V1495 (4)
(24x4)
DAQ
Hits/
Start
L0 Trigger: not “actively” used
- 4 V1495 boards available
L1 Trigger: in operation
- 4 V1495 boards
(2) for Y-plane, not used
(2) for X-Plane, in use
- 700nS latency
L2 Trigger: pass through
1 V1495
Could do simple look-up
Trigger pattern
TS: Trigger Supervisor
VME/CPU
Ethernet
(Pulse Gen.
V1495 @TB)
L2: limited I/O
1(O), 5(I), 32x
only 2 (I) used
Hodos

## Slide 11: LANL Standalone DAQ Setup
Integrate:
TDCs
  FPGA update TDC
  data format
  - VME readout
V1495 (mock data generator)
  Read in MC data
2x+ V1495 (LVL-1)
  Trigger road finder
1x V1495 (LVL-2)
  Trigger decision
Trigger Supervisor (SIS boards)
  Coordinate TDC+Trigger readout
Partial EMCal installation ?
  Use HBD readout?

## Slide 12
#1: (X=150, -50)cm
#2: (X=150, -100)cm
#3: (X=150, -150)cm
Make a small stick to hold 3 SiPMS
Mark their serial #,
Put in IR:
1) for 2 days; Thur noon – Sat noon
them measure (I,V) curves
2) For 1 week; do (I,V), put SiPMs
back to the same locations
3)For 2 weeksl do (I,V)

## Slide 13
#1:
3025CS: 10009
#2:
3025CS: 10010
#3:
3025CS: 10013
Locations:
#1: X = - 120cm, Y = - 60cm
#2: X = - 120cm, Y = - 100cm
#3: X = - 120cm, Y = - 160cm

## Slide 14: After 2 days … 6/18/2016

## Slide 15: After 2 days … 6/18/2016, I-V curves

## Slide 16
Reference SiPM Dark current: 13360-3025CS-10014:
S/N: 10009/10010/10013 are exposed to radiation behind ST-1
First put in the Hall: 6/15/2016 noon
Light leak in dark box
Good dark box

## Slide 17: Dark Matter Workshop at Fermilab March – April , 2017
SeaQues
MiniBooNE
DUNE/LBNF
LHC/CMS
“Center for Dark Matter Research at Fermilab”

## Slide 18
Fermilab SeaQuest Dark Matter Search

## Slide 19: Future application of the polarized target
JParc – fixed target Drell-Yan proposal (50GeV)
  Currently only 30GeV, limitation of applicability of pQCD
  Hadron Hall (Phase-I) completed (?)
RHIC fixed target polarized DY
  Luminosity limited, beam dump
  AGS? Only 24GeV
JLab12, LHC ?