## Slide 1: St-4 Muon Prop Tubes
Summer Work
  June: Lei and Ming
  July : Andrew, Christine, Lei and Ming
  Checked all modules with Ar/CO2 (80/20)
Installation plan
Background rate

## Slide 2: July 2010 @NM4

## Slide 3: Ion absorbers

## Slide 4: 80-20 based ST-4 Prop Tube Frame will look like this one…

## Slide 5: Prop Tube Lifting Points (similar to ST-2 chambers)

## Slide 6: Assembling area

## Slide 7: Installation – drop in w/ crane

## Slide 8: TDC spectra: Mod. #35 Ar/Co2 =80/20 HV=1900V ΔTmax ~ 2 uS
Trig.
Comm. Stop
signal
Time
TDC
Drift Time
BLK = all
BLUE = 1st sample only, rings removed
Thanks Kaz!

## Slide 9: Background (I)
Chart: gunr289 hits in h4x per 10 cm
From Don G.
1.5 MHz

## Slide 10: Max. Drift Time and Background Rate
Background rates set the maximum Drift time
Can we reduce the BG?

## Slide 11: Background rate (II) muon energy spectrum
37% low energy muons, P < 1.5 GeV, can be removed by thick (1 m) ion blocks, E_loss ~ 1.5GeV
Chart: Muon Energy Distribution
From Don G.

## Slide 12: More on background
Pz vs X distribution
If pz < 1GeV removed
  Rate = 1.5 *0.63
  = 0.95MHz
Like to have more MC samples

## Slide 13: Some Issues
More absorbers?
  Current ion blocks don’t cover the whole detectors
  More ion or concrete blocks?
Schedule of the I-beam support frame
Schedule of TDC electronics andDAQ
Check background rate with test beam, when?
Which Gas?

## Slide 15: First TDC Readout

## Slide 16: First TDC readout