## Slide 1: Station 4 Prop Tubes Status and Plan
Ming Liu
Los Alamos National Lab

## Slide 2: Station-4 Muon Prop Tubes
Installed in March, 2011
Tested with cosmic rays


## Slide 3
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
NIM channel map
Front View
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
IP, Top View
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
V2
……
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
……
V1
P1Hxx
P2Hxx
READOUT
ELECTRONICS
X
Z
V9
Plane-1
Plane-2
P1Vxx
V1
V9
P2Vxx
V2
Document committed
in E906 Doc Server

## Slide 4
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
NIM channel map
Front View
IP, Side View
P1Vxx
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
……
9 10 11 12 13 14 15 16
1 2 3 4 5 6 7 8
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
16 15 14 13 12 11 10 9
8 7 6 5 4 3 2 1
……
P2Vxx
H1
H1
Ground Floor
Y
Z
Wrong
Shpd mod.
1
2
9
FEM Card
16, 15, … 3, 2, 1
P1H1
H2
H9
H2
(P2H2)
X
P1Hxx
P2Hxx

## Slide 5: Progress on the decoder/offline analysis (Kun Liu, a new LANL local student)
Reproduce Kaz’s plots based on old TDC format
Working on a handy decoder with new TDC format for the test runs and detector commissioning
Kaz’s
Kun’s

## Slide 6: Y1-plane installation 2/28/2011

## Slide 7: X1 plane installation 3/1/2011

## Slide 8: Current Status and Plan
Detectors are in place
  LV, HV connected
  Signal connected, but no TDC cards yet
  Gas lines installed and connected
Issues and to-do list
  (new) flamebloc spray caused a shortage in HV for all modules
    Found a solution this week, can be cleaned up with water,
    work in progress (next a few slides)
  Need to take all planes out from the experimental area
    Clean up with water,
    Apply corona dope (HV coating)
    apply “white paint” to wood lumbers
  Electronics noise and ringing
    Need to work on the electrical ground
    Major source of problem identified this week!
    need to rework the output ECL cable layout (next a few slides)

## Slide 9: Flamebolc and HV shortage problem

## Slide 10: Flamebloc GS 200

## Slide 11: More on Flamebloc Clean up Work Problem Fixed!
- Apply Corona Dope to the exposed
HV posts at end of tubes
- Apply flam-retardant “white paint”
Thanks Mike Geelhoed!
Flamebloc cleaned with water
HV come back to normal operation

## Slide 12: HV system
One HV channel per plane (for now):
  HV = +1800~2100V,
  I ~ 10s nA per module @2KV
  4 channels total

## Slide 13: LV system
UCLA LV PS:
  5V & 18A each
  Fixed and certified by D0 group!
  4 PS total
Per plane (9 modules)
  +5V, 0.5x9=4.0A
  -5V, 0.75x9=6.8A
Ground configuration
  A common Floating ground for +/- 5V
  Chase ground available

## Slide 14: Prop Tube Circuit Diagram and Electrical Groundings
+HV (2000V)
R=10M
R=6.5 K ?
C = 10? pf
dV= 10M x 1 uA = 10V
+5V @PS
-5V@PS
Frame ground
- AL tubes+ frames
- Poor earth ground via I-beam
F.G.@detector
F.G. @PS
F.G. @detector

## Slide 15: Stacked ECL Output Cables Source of Cross Talks and Cross Module Ringing

## Slide 16: A Solution
Increased space/gap between cables ¼” foam
  Or metal jacked-shield cable?
Works for Modules 8 and 7
Clean cosmic hits seen! (was ringing badly)

## Slide 17: System Integration Plan
Individual module works fine in stand alone mode
  LV on
  HV on
  Readout cables connected and checked with scope
PreAmps develop ringing when multiple module LV cables are connected, clearly a electrical grounding issue
  HV cables seems having no effect
  Mainly from cross talks via output ECL cables
  Increased gap proved eliminate the cross module ringing problem!
Plan
  Address the grounding/cross talk issues before the detector is moved back to the experimental area, i.e. @ loading dock
    New ECL cable layout
    Test with external pulser
    Test with cosmic rays
  Need ~4 weeks @ one plane/week
  Complete installation and electrical test by the end of September.