## Slide 1: Dark Photon Detector Status and Plan
Ming Liu, LANL
E1039 Collaboration Meeting
07/15-16, 2019, Fermilab

## Slide 2: Dart Photon Detectors – Introduction

## Slide 3: Displaced Vertex Trigger

## Slide 4: Basic Design - Hardware
ST-1 Quadrant
ST-2 Quadrant

## Slide 5: Basic Detector Design Parameters

## Slide 6: Trigger Logic – Can also help DY & J/Psi from Upstream Target

## Slide 7: Readout Status – 11/2018 (from Sho)

## Slide 8: DP Detector Status
All broken channels fixed in Nov, 2018, by Sho, Hubert, Kun et al.
  https://seaquest-docdb.fnal.gov/cgi-bin/private/ShowDocument?docid=4615
This summer work in progress, July – September, 2019
  Reconfigure the readout/power cables route
  Relocate racks for readout and PS, to break the ground loop
  TDC crates, DAQ integration

## Slide 9
DP-1
DP-2
KMAG
RACK-1
RACK-2
Rack-3/DP Trigger
(L2 rack)
-VME:
4xV1495
L1 trigger
DC-2
DC-2
RACK-3 (exists)
DP/V1495
L2 rack/V1495 (Rack-3)
DP trig(OR)
DY trig(AND FPGA trig’s)
beam
(4 Qs)
DP Trigger New Layout (5/28/2019)
Rack-1/ST-1: 4x 80 ch
-CAMAC (10 x LeCroy 4413)
-CAMAC (10 x LeCroy 4413)
-NIM/BlueLogic trigger
Calibration
SiPM PS
Rack-2/ST-2: 4x 50ch
-CAMAC (8 x LeCroy 4413)
-CAMAC (8 x LeCroy 4413)
-NIM
-SiPM PS
Possible extended SMA-Lemo, ~5’ (NOT needed! 7/2019); cable tray
New Rack-2, SMA-Lemo unchanged, cable tray, new power to Rack-2
Existing cable
tray
- Run all cables under
the KMag, with cable tray
RACK-4 (exists)
VME/TDC (6)
VME/TDC (6)
Signal cables (40’), under kMag

## Slide 10: Work in Progress – Summer 2019
All cables are pull off and ready for reconnection in the new locations,
Thanks Marshall, Kun, Mindy et al

## Slide 11: Test Plan: Aug. – Sept. 2019

## Slide 12: Target/Dump Simulation Study - Work in Progress
10K Dimuons @Z = -300cm: /seaquest/users/mxliu/DP_Trig_Sim/e1039-analysis/SimChainDev
MC samples from target:
DY
J/Psi
Single muons
Target-Dump separation @Trigger level
Dimuon simulations: Evt: #9
DP-1
hits
DP-2
hits
Thanks Haiwang Yu’s help for setting up the simulation framework for DP,
Also Kenichi, Kun and Mindy et al.
Z
Y

## Slide 13: Simulation To-Do’s
Generate MC samples at
  target (Z = -300cm)
  beam dump (Z = 0~50cm)
Physics signal samples
  J/Psi
  Drell-Yan, M= 4-8GeV
  Single muons (pi/K/Charm)
Trigger lookup tables
  Beam-Dump separation
  FPGA
To be ready for Day-1 Physics
J/Psi A_N
Dark Photon search
Single Muons A_N
Drell-Yan A_N

## Slide 14: Summary
Dark Photon Detector re-configuration in progress
  Re-cabling
  Install TDCs,
  Trigger & DAQ integration
  Test run w/ calib system
  Cosmic run, including other DCs, in Aug/Sept. 2019
Dark photon trigger optimization for target
  Signal simulations: J/Psi, DY, single muons
  Dark photon and alikes
  Update FPGA lookup table
To be ready for beam in mid October, 2019
People involved -
Sho, Kun, Mindy, Marshall, Huizi, Zongze, Hubert, Ming
Haiwang, Kenichi,
Noah, Minjung,
Dylan, Cristina, Nhan et al (HEP groups)
Welcome to join us!

## Slide 15
05/26/2019 Planning Discussion @FNAL