## Slide 1: MVTX Commissioning Document Collections … BNLBox: https://bnlbox.sdcc.bnl.gov/index.php/f/16904602
ITS’ surface commissioning
  Full system
    Readout
    DSC
    Cooling
    Safety interlock
  Online monitoring
  Endurance test
Half-detector test @LBNL, in early 2021
  Single stave QA
Full system test @BNL, in early 2022

## Slide 2: MVTX Half-Detector Test @LBNL
Test staves at each assembly step on the assembly jig, with MOSAIC setup
  Noise/occupancy
  Threshold
  Dead pixels …
Also after each layer assembled
  Repeat tests from #1, MOSAIC
After the half-detector assembled
  Final connectors & cables installed
  Need the full readout for testing?
Test setup at LBNL:
MOSAIC system
  Individual Stave QA
  Good for setp #1
Small scale MVTX readout?
  FELIX + RU + PU
  use the final readout cables
  Possible multiple stave readout
  QA software and online monitoring
@PP3: power and signal connectors

## Slide 3: ALICE ITS Surface Commissioning Experience - detector control and status monitor

## Slide 4: ITS Surface Commissioning: Checked all chips - hit occupancy, errors

## Slide 5: ITS Surface Commissioning: All Chips - threshold, dead pixels

## Slide 6: MVTX QA and Online Software
Can we reuse/adapt ITS2 software?
  Detector control
  Detector monitoring
Things special for sPHENIX