## Slide 1: CERN Visit
Ming Liu, Walt Sondheim
09/16-20, 2019

## Slide 2: 11.4m SamTec Readout Cable Test
Double looped readout cables:
  Effective length = 2 x 11.4 m = 22.8m
  Data rate: 1.2Gbps
  One overnight run, ~10hrs
  Error rate < 1.4 x10-14

## Slide 4: Stave Production
From this week
  Bi-weekly meeting on Thursday 5PM/CERN (9AM/LANL)
~10 staves/month
  Limited by Wirebonding , 2~3 staves/week
Production last 7~11 months

## Slide 5: Carbon Structures
Visited WorkShape
Very productive, well prepared

## Slide 6: ITS Commisioning