## Slide 1: Probing Quark-Gluon Plasma with Bottom Quark Jets at sPHENIX
LDRD
20170073DR
Ming Liu for the
sPHENIX LDRD Team
02/14/2019

## Slide 2: Agenda for Today
Introduction 8:00-8:10AM LDRD office
Project overview and achievements 8:10 – 8:30AM Ming Liu (P-25)
Experimental highlights and plan 8:30 – 9:00AM
  Sensor and readout (10+5’) Sho Uemura (P-25)
  Mechanical system (10+5’) Walt Sondheim (P-25)
Theoretical highlights and plan 9:00 – 9:30AM
  Overview of theory (15+5’) Ivan Vitev (T-2)
  Simulations highlights (7+3’) Boram Yoon (CCS-7)
Transition plan 9:30-9:50AM Cesar da Silva (P-25)
Committee meeting 9:50 – 10:30AM

## Slide 3: Introduction – The LDRD Team and Effort
Experimental group
  P-25, AOT
  Detector readout and mechanical support R&D
  Detector modeling and simulations
  Physics simulations
Theoretical group
  T-2, T-5, CCS-7
  Physics modeling & simulations
Budget: 1.6M/Year, FY17-19
  1/3 on experimental T&E
  1/3 on theoretical T&E
  1/3 on Hardware & M&S

## Slide 4
Quark-Gluon
Plasma (QGP)
Earliest stage of the universe that can be explored in detail in the laboratory

## Slide 5: Discovery of QGP at the Relativistic Heavy Ion Collider
PHOBOS
BRAHMS
LANL’s major roles @PHENIX experiment
  Muon Spectrometers (1990’s - 2016)
  Multiplicity vertex detector (1990s - 2004)
  Forward vertex detector upgrade (2007 - 2016)
QGP discovery announced in 2004 by 4 RHIC experiments, PHENIX, STAR, BRAHMS, PHOBOS
Confirmed later at LHC
PHENIX:
Mission completed in 2016
Upgrade path – sPHENIX @RHIC
QGP created in Au+Au collisions @RHIC
Strongly coupled near perfect liquid!
Circa 2001
FVTX
LANL led
muon tracker

## Slide 6: Bring Big Science to LANL – sPHENIX at RHIC
sPHENIX – the next US NP flagship heavy ion physics program, to study “the inner workings of QGP” (DOE/NP LRP2015)
  Granted CD0 9/2016; CD1 8/2018; PD2/3 scheduled 5/2019
  Construction 2018 – 2022; Physics runs: 5+ years
This LDRD allows LANL to take a leadership role in sPHENIX and be a key player in the Heavy Ion physics frontier
  Innovation: develop a new open heavy flavor physics program, identified as the 3rd Science Pillar of the sPHENIX experiment
  Bring new state of the art technical capability to LANL applied program, also future EIC program
LANL’s NP program:
PHENIX: 1990s – 2016
sPHENIX: 2016 – 2027+
Electron Ion Collider: Next frontier
Complement & extend current and future
RHIC and LHC QGP programs

## Slide 7: MVTX Physics Highlights
Heavy quarks – new scales, mc, mb
  Study mass dependence
    Jet quenching & energy loss
    Flow – interaction with medium
  Access QGP properties
    Density, coupling, transport coefficients etc.
“B meson and b-jet modification”
“B meson and b-jet flow”
Ivan & Boram’s talks
MeV
1
10
102
103
104
mu md
LQCD
TQGP
mc
mb
Tc
ms

## Slide 8: LDRD Scientific & Technical Goals
Develop a next generation QGP physics program with heavy quark jets at RHIC with full detector and physics simulation and modeling
New theoretical study of QGP tomography with b-jets
Carry out key detector R&D to demonstrate the open heavy flavor physics capability in the sPHENIX with MVTX
Develop a proposal to DOE to build a state-of-the-art MAPS-based Vertex Detector for the sPHENIX
MVTX proposal submitted & approved by DOE and BNL in 2018!

## Slide 9: LDRD Project Scope and Status
Established at the beginning of this project feasibility review 1/2017
Minimal goals
  Develop a MVTX prototype telescope with 2-4 early prototype ALPIDE sensors/staves with ALICE readout units, complete sPHENIX DAQ integration
  Complete R&D on mechanical conceptual design, sPHENIX system integration
  Develop b-jet tagging algorithms for p+p and Au+Au
  DOE MIE proposal submitted to fund the full detector construction
  Complete b-jet theory for precision tomography of QGP with sPHENIX
Stretch goals
  Develop a full 4-production-stave MAPS telescope, test beam run with integrated sPHENIX DAQ
  DOE MIE proposal approved for the full detector construction

## Slide 10: The sPHENIX Detector Design Today
Φ ~ 5m
Outer HCal
SC Magnet
EMCal
TPC
INTT
15 kHz trigger
>10 GB/s data
MVTX
Inner HCal
Notes: 15kHz matched to collision rate.

## Slide 11: Monolithic Active Pixel Sensors (MAPS) The Next-Generation, State-of-the-Art Pixel Tracker
Advantages of ALICE PIxel DEtector (ALPIDE) sensor:
Very fine pitch (27μm x 29μm), for superb spatial resolution
High efficiency (>99%) and low noise (<10-6), for excellent tracking
Time resolution, as low as ~5 μs, for less pileup
Ultra-thin/low mass, 50μm (~0.3% X0), for less multiple scatterings
0.5M channels with on-pixel digitization, for zero-suppression and fast readout
Low power dissipation, 40mW/cm2, for minimal service materials
An ideal detector for QGP physics!
50 μm
~28 μm
ALPIDE design
Flexible Printed Circuit(FPC)
9 Chips
Cold plate
A 9-chip MAPS stave, 1.5cm x 27cm
ALPIDE sensor:
1.5cm x 3.0cm, 0.5M channels

## Slide 12: MVTX R&D Success: 2018 Fermilab Test Beam Highlights
INTT
MVTX EMCal HCal
Track spatial
resolution: ~5 um
High hit efficiency: > 99.5%
4-hit track
4-MAPS telescope
120 GeV protons
Sho’s talk
Demonstrated full high-speed readout chain at Fermilab test beam in Feb - Mar 2018
Sensors + RU + FELIX + RCDAQ/sPHENIX

## Slide 13: Full GEANT Detector and B Physics Simulations
B-Tagging:
Large DCA tracks
Invariant mass

## Slide 14: Mechanical System – Completed Conceptual Design
12/7/18
TPC
INTT
MVTX
PP-1a:
short signal cables
PP-2:
Signal and power cables
PP-1b:
power cables
Service Barrel
a new MVTX stave design with 40cm extended power FPC
Walt and Sho’s talks
3D model and mockup

## Slide 15: Addressing Recommendations from last Appraisal
“Recommendation 1: Testing should be carried out with the 10m cables. The project recognizes the issue of cable lengths with the readout system, and we encourage the team to identify the maximum length that can be used (7, 9, 11 m) to ensure that unforeseen integration issues in sPHENIX do not create obstacles to their use. This is likely the highest risk in the detector development part.
- R&D in progress, don’t expect major issues (Sho’s talk)
Recommendation 2: The project had reached many milestones ahead of schedule and is proposing several enhanced goals. We advise the group to prioritize these to maximize the impact on the field (particular for theory).
- Pursuing stretch goal of 4-stave telescope, beam test planned for May 2019; (Sho’s talk)
- New theoretical development (Ivan’s talk)
Recommendation 3: In regard to the transition, we advise that the LDRD leadership explore ways to keep the knowledge within the group in order to make the MVTX sPHENIX project successful. The expertise also needs to be maintained for the ~5 year execution of the experiment, although possibly at a reduced level.
- Need support from management to retain talents in the group;
- New hires of two postdocs – one ITS expert, one highspeed electronics expert; staff training for MVTX;
Recommendation 4: It would be interesting to incorporate dynamical screening effects into these calculations, in addition to Debye screening effects.
- New theoretical development; (Ivan’s talk)

## Slide 16: Detector R&D Tasks for FY19
MVTX prototype telescope beam test at Fermilab
  Staves with “final” electronics and cables
  Test beam planned for May, with sPHENIX INTT
SamTec cables
  AWG30, ~10m cables
ALPIDE sensor characterization and optimization
  Readout and trigger optimization for sPHENIX
  Laser system setup in preparation
4-stave Telescope
4 taves @LANL
Sho’s talk

## Slide 17: Mission Impact
This project directly contributes to the LANL NPAC (Nuclear, Particle, Astrophysics and Cosmology) and DOE Nuclear Physics program, expand the leadership of LANL at national & international level:
High impact on national big science program
  sPHENIX and EIC
Define the directions for LANL basic science and applied programs
  Long-term DOE NP program
  New hires - Xuan, Sho, Yasser, Cameron (P-25), Alex(COMPA), also in theory groups
  Other LANL hires - Mike(XCP), Darren(XTD)
  DOE Early Carrier Award, Cesar
  Application to LANL applied program, safeguard and space program etc.
New proposals being developed
  for EIC based on MAPS technology
  X-ray imaging with MAPS
Recommendation #1 (RHIC):
Recommendation #3 (EIC):
NSAC Long Range Plan 2015
The highest priority in this 2015 Plan is to capitalize on the investments made.
2020
2015
2025
2030
LDRD
sPHENIX
EIC

## Slide 18: Transition into DOE sPHENIX MVTX Program
MVTX approved by DOE and BNL, funded through RHIC Operation
  DOE provides $1.4M to produce 84 staves and 60 RUs through US-ALICE, addon to the ALICE mass production
  MVTX system design and construction in progress, additional ~$5M from DOE
As a result of this LDRD, we expect to have:
  Long term DOE NP support for sPHENIX
  Long term DOE support for theoretical effort
In the remaining ~7 months of this project, we will actively work with the sPHENIX MVTX group to make smooth transition:
  The full MVTX detector design and construction
  Ready for day-1 physics in 2023
Cesar’s talk

## Slide 19: Summary
Established the 3rd science pillar for sPHENIX, new open heavy flavor physics program with MVTX upgrade, approved by DOE and funded through BNL
New theoretical tools developed for QGP study, for RHIC and LHC
Met all LDRD milestones, some ahead of time
Broad impacts on NP and other programs
In transition into DOE supported sPHENIX program
On track to meet all goals for FY19

## Slide 20: Thank You!

## Slide 21: Backup slides

## Slide 22: MVTX Schedules and Milestones (11/2018)
CY-2018 | 2019 | 2020 | 2021 | 2022 | 2023
Stave & RU
production
Power system
production
Detector mechanics design & production, global interface to sPHENIX
Service barrel
design & production
End Wheels
CYSS
Half barrel #1
Half barrel #2
Half barrels
arrive @BNL
MVTX installation & commissioning @BNL
RU, FELIX, PS, cables etc.
Install half barrels
@sPHENIX IR
Ready for beam;
sPHENIX day-1 run
FELIX
production
Barrel Assembly & Testing @LBNL
sPHENIX: CD1/3a PD2/3
MVTX
1st collisions
Installation
Global integration
/interface design?
design & procure
interface to
sPHENIX rails
Design & procure
sPHENIX rails
Dave’s talk

## Slide 23: sPHENIX MVTX Group: Institution Roles
Major institutions lead key tasks
(New) Lehigh University: Simulations and electronics/cable test

## Slide 24: sPHENIX Status and Plan
MVTX funded
by DOE

## Slide 25: sPHENIX Collaboaration Meeting at Santa Fe, 12/2017

## Slide 26: sPHENIX Physics Program
sPHENIX is the next generation flagship heavy ion physics experiment in the US (NSAC LRP2015)
  Jets & Upsilons
  B hadron and b-jet physics enabled by MVTX
MVTX will complete QGP heavy flavor physics at RHIC
  Unambiguous determination of key parameters of QGP through precision study of open HF productions
MVTX on track for day-1 physics in 2023
  Production begins now
  Strong community support, ALICE, ATLAS, LANL, BNL et al
Complement & extend current and future RHIC and LHC QGP programs
sPHENIX Three Physics Pillars
Jets
Upsilons
B
D

## Slide 27: Three Science Pillars for sPHENIX
Jet cor. & substructure
Upsilon spectroscopy
Size of the probe
ϒ(2s) – 0.56fm
ϒ(3s)-0.78fm
ϒ(1s) – 0.28fm
Parton energy loss & cor.
mass dependent

## Slide 28: Open Charm & Beauty Production
Hadron | Abundance | ct (mm)
D0 | 61% | 123
D+ | 24% | 312
Ds | 8% | 150
Lc | 6% | 60
B+ | 40% | 491
B0 | 40% | 455
Bs | 10% | 453
Lb | 10% | 435
b-tagged jet and cor.
60%
0.5%
pT<15 GeV
pT>15 GeV
Exploring and more

## Slide 29: LDRD Highlights MVTX Sensors, Readout and Control System Developed
Demonstrated full high-speed readout chain at Fermilab test beam in March 2018
  Sensors + RU + FELIX + RCDAQ/sPHENIX
Sho’s Talk

## Slide 30: Confirmed HIC with Extended 40(60)cm Power FPC
Built and tested two HICs at CERN in 9/2018
  No change in sensor performance (noise, threshold) observed, as expected;
Followed identical ALICE IB
QA test procedure at CERN,
with a 8m SamTec cable!
Extended power FPC designed and built at LANL
Sho’s talk

## Slide 31: LANL LDRD Activity Highlights
Sensor source test
MAPS evaluation
Readout integration
4-sensor telescope
Test beam at Fermilab
Mechanical & cooling
Signal integrity & cables
Cooling system
prototype
Service cone R&D
FPC power extension R&D
4-ALPIDE Telescope;
5m-long SamTec cables
Readout R&D
stave
RU

## Slide 32: MVTX Readout and Power Cable Rout
sPHENIX MVTX: 7.9+m
  Cable-A: 1.4 m
  Cable-B: 6.5+ m
  Power cable:4.7+ m
On-going R&D for ~10m
PWR
RU
PU
Cable-A: 2.65m
ALICE ITS/IB readout cables: ~8m
Cable-B: 5.3m
BNL has approved “non-halogen free” cables for sPHENIX
Sho talk