## Slide 1: MVTX 4-stave Telescope Setup Photos
4 staves
GTM
RU
PU
SamTec Cables, 5m & 8m
USB control
LAN
Cooling system

## Slide 6
External
Trigger
LAN
To LAN-box
To NUC
To FELIX server
From GTM
Fiber to
FELIX
Trig. Out
6x RHIC CLK
OUT

## Slide 7
GTM fiber
Synced FELIX
CLK & trigger
RU-FELIX
fibers
To key board/mouse

## Slide 8
NUC
NUC-LAN
to USB hub
2 USB-JTag
PS controls

## Slide 9
Stave LV:
3.3V
Bias HV:
-5.0V
Data/control
fiber
RU-1
RU-2
USB
Jtag-USB;
from USB hub
USB - RU
From NUC
RU-PU
cable

## Slide 10
RU – USB Connections
2 USB to
RU
RU-to PU
USB from NUC
USB from NUC
Jtag-USB#2 from NUC
Jtag-USB #1
from NUC

## Slide 11
RU-FELIX Fibers

## Slide 12
FAN: 12V
Stave:
LV: 3.3V
Bias: -5.0V
RU: 5V
Power Supplies
USB hubs
FAN: 12V
RU: 5V

## Slide 13
NUC, PS etc
2 USB-Jtag
to 2 RU

## Slide 14
Cosmic Telescope PS
SiPM: 55.53V
Cosmic Telescope PS
SiPM PreAmp: 6V
Cosmic Telescope PS
SiPM: 55.53V

## Slide 15
Cosmic Telescope tubes

## Slide 16
External trigger
20kHz. TTL into GTM
COSMIC Trigger
Logics

## Slide 17
-3PSI;
-20%;
-1GPH
Negative pressure
cooling system