## Slide 1: MVTX Telescope 2nd Test Beam Run @Fermilab 6/17-21, 2019
MVTX ?
INTT?
TPC?

## Slide 2: MVTX Goals
Test and confirm optimal MVTX operation parameters
  Threshold scan, analogy shaping time etc
  Study chip hit efficiency vs trigger(strobe) latency
    dT = 1 ~ 10 uS
Parameters predetermined from laser scan at LANL
  Single chip readout with MOSAIC with pulsed laser
  Threshold and noise
  Analogy shaping time
  Strone length
Test continuous readout
  Strobe length – 10uS/100kHz, 20uS/50kHz etc.
  Data volume vs readout mode/frequency etc.

## Slide 3: ALPIDE Sensor Study
“Default Settings”
“Stretched Settings” for sPHENIX trigger
64 cells x 106nS = 6.8uS