## Slide 1: Summary
sPHENIX overview – Dave/Gunther
  Compelling science
MVTX overview –Ming
  Status and highlights
Readout integration – Alex/Sho
  #1, 2, 3
Staves – Leo/Grazyna
  #1, 3, 4, 5, 6, 7, 8
Readout Units – Jo
  #1, 3, 4, 5, 6, 7, 8
INTT overview – Rachid
  Important for tracking
Mechanical integration – Walt/Dan
  #10
Tracking simulation – Tony
  #9
Project summary – Ming
  YES, we are ready, #1, 8

## Slide 2: #1, Does the current design demonstrate that the MVTX staves and readout units will be compliant with their specifications?
YES!
  Spatial resolution
  Hit efficiency
  Readout speed
  Trigger rate
  Occupancy
  Radiation tolerance
Hit Efficiency > 99.5%
Pixel size (~28um)
Hit Spatial Resolution: < 5 um
Sho, Alex, Leo, Jo et al

## Slide 3: #2, Can the data from MVTX staves be extracted, readout and integrated into sPHENIX DAQ?
Yes!
  Test beam data monitoring and analysis are carried out in the sPHENIX online and offline framework
Hit Efficiency > 99.5%
Pixel size (~28um)
Hit Spatial Resolution: < 5 um
Online display:
Sho, Alex, Jo

## Slide 4: #3, Are the electrical interfaces of the Staves ad Readout Units to other sPHENIX components at a proper level of understanding?
Yes!
We have exercised the full readout chain and controls at Fermilab test beam
Sho, Alex, Jo

## Slide 5: #4, Has the responsibility for fabrication, tests for the Staves and Readout Units been defined? #5, Has a QA plan and acceptance tests for the Staves and Readout Units been defined?
Yes!
  ALICE/CERN will produce staves and RU for sPHENIX.
  sPHENIX/MVTX group does the acceptance test and QA in US.
L3: Grazyna Odyniec/LBNL
L3: Joachim J. Schambach/UT-Austin
Leo & Jo

## Slide 6: #6, Has the inspection/test records archive plan been defined and is the information easily accessible?
Yes!
Follow the same QA procedures being used for ALICE ITS/IB production at CERN
  Use ALICE DB for initial sPHENIX production
  Move to sPHENIX DB when available
Leo & Jo
ALICE ITS stave QA

## Slide 7: #7, Is the design of the Stave and Readout Units final?
Stave: Yes!
With a minor modification of power extension cable for FPC. - MVTX will use long 35cm cables (ALICE, 15cm)
ALICE ITS/IB staves production in progress
RU: Yes!
Pre-production boards (v2.0) being tested at CERN
ALICE ITS RU production ready to proceed after the test.
Leo & Jo

## Slide 8: #8, Are the staves and readout units ready for procurement?
Staves: Yes!
  High-speed line, no change
  Longer (15cm ->35cm) power extension cables, Prototype power extension cables produced at LANL for testing.
RU: Yes!
  Once the final v2 pre-production boards pass the test, full production will proceed
  RU v1 meets readout integration requirements
Leo, Jo, Walt
FPC power extension

## Slide 9: #9, Status of the simulation to optimize the MVTX and INTT for tacking in sPHENIX and timescale for its completion
Key simulation tools are available to verify tracking performance with various MVTX and INTT configurations
A simulation task force is formed, with charge and targeted due date
Tony, Dave & Gunther

## Slide 10: #10, Status of the mechanical integration between the MVTX, INTT and other sPHENIX components and timescale for a final design?
Integration effort under OSI, chaired by Mickey & Dan
Integration issues appear manageable
Detailed 3-D models being developed, mock-up to confirm the final design
Walt & Dan