## Slide 1
xxx
1
TPC
INTT
South Beampipe
N

## Slide 2
xxx
Permanent BP support consisting of collar and thin (~1mm) vertical composite plates
Temporary BP support introduced from north end, brought as near to Be section as possible
MVTX support flange
2

## Slide 3
xxx
Introduce both MVTX Halves (already serviced and coupled to service barrel halves). They are mounted on movable inversion rails and separated horizontally by several inches to clear large beampipe
3

## Slide 4
xxx
Clamshell MVTX halves, make first interconnections
4

## Slide 5
Make second interconnections (new location shown; 4 intercon will be changed to 3 total)
5

## Slide 6
xxx
Install permanent beampipe sling
6

## Slide 7
Make final interconnections
7

## Slide 8
xxx
Connect Service Barrel to X-Wing (MVTX Support)
8