## Slide 1: Cosmic Run with 4-stave Setup 4/2020
Two Cosmic Trigger detectors
RU1: A105
RU2: C104
RU3: C105
RU4: E103
Cosmic shower detectors (4 scintillator bars, 2x2cm)
4 staves:
Trigger Detector
Readout
CAEN DT5702
(Plot from 5/2019 Fermilab Test Beam Data)

## Slide 2
Cosmic Trigger and Shower Detectors
Trigger: C8 & C9
Shower: C0 + C2 + C4 + C5
C0
C4
C5
C1
C8
C9
A short scitillaltor
4-stave Telescope
Cosmic ray
Trigger = C8 & C9
RU1: A105
RU2: C104
RU3: C105
RU4: E103
Trigger Detector
Readout
CAEN DT5702

## Slide 3: Cosmic Data Run 1453: 4223 triggered events
RCF:
/gpfs/mnt/gpfs02/sphenix/user/mxliu/telescope/Cosmic-2020/ test_00001453-0000.prdf
Also: https://www.phenix.bnl.gov/WWW/publish/mxliu/sPHENIX/Telescopes/cosmic-2020/test_00001453-0000.prdf
RU-1: A105
RU-2:
C104
RU-3:
C105
RU-4:
E103
Online Monitoring
RU-1
RU-3
RU-2
RU-4

## Slide 4
Readout: 4 RUs + 4 Staves
Cosmic trigger
from CAEN
GTM LVL-1 Accept