## Slide 1: Run6 CNI Analysis: Concluding Remarks and Summary of Systematic Uncertainties
A.Bazilevsky
For RHIC CNI group
RHIC Spin Collaboration Meeting
November 30, 2007

## Slide 2: RHIC Polarimetry
pC-Pol:
  Beam polarization
  PpCBeam  pCBeam(tpC)
HJet-Pol:
  Jet polarization (diluted by molecular background)
  PJetTarget~0.92  JetTarget(tJet)
  (May be affected by other background)
HJet-Pol:
  Beam polarization
  PJetBeam  JetBeam(tJet)
  (May be affected by other background)

## Slide 3: HJet Performance for 100 GeV
Run6 Blue
Run6 Yellow
Run5 Blue
Run5 Yellow
Target asymmetry in Jet-Pol
TRecoil (MeV)
JetTarget
Jet performance is very stable through the Years
Background is small and its effect on JetTarget is small
 Beam polarization is measured reliably by Jet-Pol

## Slide 4: pC/HJet
Normalization changed by ~18% compared to Run4/5 normalization
tpC range changed in pCBeam(tpC)? – Should be investigated
So far, pC-Pol can be used only as a relative polarimeter: re-normalization for each set-up (Year) is necessary
Energy corrections within a Year are considered: 2.4% energy correction drift within a Year
Only stat. errors included
Problem?
Blue
Yellow

## Slide 5: HJet with Yellow beam
Period #
Target asymmetry
Beam asymmetry
Jet performance looks stable (target asymmetry is constant)

## Slide 6: pC/Jet: bad fills exlcuded
Unfinished scans (plus 7654 and 7671)– Excluded
(Only 1st yellow period is affected)
Chi2/NDF in Yellow improved considerably:
from 10.8/3 (CL=0.01) to 5.5/3 (CL=0.14)
Open – “good”
Solid - all

## Slide 7: pC/Jet: “Golden” vs others
“Golden”: p0=1.1520.026 2/NDF=1.1/2 (CL=0.58)
Others: p0=1.1700.033 2/NDF=4.3/2 (CL=0.12)
Consistent
“Golden”: p0=1.1380.030 2/NDF=6.3/4 (CL=0.18)
Others: p0=1.2660.037 2/NDF=1.3/3 (CL=0.73)
Different on ~3 level
Open – Others
Solid – “Golden”
Others:
Non-gaussian intensity profile
(due to target positioning problems etc.)
“Golden”:
gaussian
intensity profile
Decision: use separate normalization for pC “Golden” fills and others.
Price: stat. uncertainty for normalization increases by 1.5 (worst case)

## Slide 8: pC vs HJet

## Slide 9: HJet Performance for 31 GeV
Blue: looks normal
  Background is as low as for 100 GeV
Yellow: background is abnormally high
  Different background may affect differently JetTarget and  pCBeam
Borrow blue pC normalization for yellow pC
  100 GeV: pC blue and yellow normalization is the same within 11%
    (consistent for “golden”; shifted by ~(74)% for “others”)
  31 GeV: energy correction changed differently in blue and yellow, compared to 100 GeV (by ~5mkg/cm2)  3% uncertainty
The uncertainty for ANpC(yellow)= ANpC(blue) for 31 GeV beams is
11%  3% = 11.4%
(See Kieran’s presentation from Nov. 15)

## Slide 10: P/P summary
Global (correlated from fill to fill)
  Jet normalization, stat 2.3%, 2.4% (5.9%, 5.9%) 3.1%, 2.8%
  Jet normalization (horiz profile) 1.1% (same) 0.5%, 2.2%
  *Jet normalization, syst (molecular) 2% (2%) 2.0%
  *Jet normalization, syst (others) 1.3%, 1.5% (1.9%,11.6%) 2.1%, 2.1%
  Pol. Profile (for experiments) 2.0% (2.6%) 4.0%, 4.1%
  *Energy correction: 2.4% (1.2%) not included
  Global Total: 4.7%, 4.8% (7.2%, 13.5%) 5.9%, 6.2%
Uncorrelated from fill to fill Run6 Run5
100 GeV (31 GeV) 100 GeV
  pC stat uncertainty in each fill: ~4% (~5%) 2-3%
  From horiz profile: included above 1.5%, 4.0%
  From vert profile: 2.0% (2.6%) 4.0%, 4.0%
  Energy correction: 1.2% (same) 1.2%, 1.6%

## Slide 11: Final Polarizations in Run6 (for experiments)
Global syst. uncertainties:
PB/PB= 4.7% (7.2% for 31 GeV)
PY/PY= 4.8% (13.5% for 31 GeV)
(PBPY/(PBPY)= 8.3% (19% for 31 GeV)
100 GeV
31 GeV
100 GeV
31 GeV

## Slide 12: Backups

## Slide 14: pC/Jet: Chi2/NDF for fits over fills
Period | Golden | Others | All | Golden | Others | All
1 | 2/4 | 0/0 | 5/5 | 2/2 | 16/7 | 19/10
2 | 0/0 | 1/3 | 7/4 | 2/2 | 8/7 | 11/10
3 | 1/2 | 0/0 | 2/3 | 14/17 | - | 14/17
4 | 12/6 | 6/10 | 22/17 | - | 0.5/2 | 0.5/2
5 | 0.1/1 | - | 0.1/1 |  |  | 
All | 20/17 | 9/16 | 38/34 | 19/23 | 30/18 | 50/42

## Slide 15: pC vs Jet, yellow
Period | All |  | “Golden” |  | “Others” | 
 | Jet | pC | Jet | pC | Jet | pC
1 | 0.4510.020 | 0.5510.010 | 0.4940.044 | 0.6030.018 | 0.4390.022 | 0.5380.011
2 | 0.5580.019 | 0.6150.006 | 0.5680.038 | 0.6180.013 | 0.5550.022 | 0.6140.007
3 | 0.5740.013 | 0.6640.008 | 0.5740.013 | 0.6640.008 | - | -
4 | 0.5030.025 | 0.6350.016 | - | - | 0.5030.025 | 0.6350.016
All | 0.5410.009 | 0.6300.005 | 0.5680.012 | 0.6560.007 | 0.5030.013 | 0.5950.006

## Slide 16: pC vs Jet, blue
Period | All |  | “Golden” |  | “Others” | 
 | Jet | pC | Jet | pC | Jet | pC
1 | 0.5300.031 | 0.5860.011 | 0.5490.034 | 0.5820.012 | 0.4150.070 | 0.6090.027
2 | 0.5420.027 | 0.6310.013 | 0.6300.055 | 0.6060.031 | 0.5050.032 | 0.6430.013
3 | 0.5120.035 | 0.6370.018 | 0.5370.038 | 0.6520.019 | 0.2820.103 | 0.5090.056
4 | 0.5380.012 | 0.6530.007 | 0.5570.018 | 0.6520.010 | 0.5210.016 | 0.6550.009
5 | 0.5160.032 | 0.6240.019 | 0.5220.036 | 0.6240.019 | - | -
All | 0.5330.010 | 0.6410.005 | 0.5560.013 | 0.6330.007 | 0.5110.014 | 0.6490.007

## Slide 17: pC energy correction
100 GeV
100 GeV
“Dead Layer” drifts in the range 4mkg/cm2 compared to middle point
2.4% for polarization correction
2.4% uncertainty on polarization due to energy correction

## Slide 18: Uncertainties due to polarization profile
Lmax determination
  (the step size is finite, so we may miss maximum intensity point)
  Negligible (<0.2%)
Target vibration
  <1%
Gauss-ness of the profiles (L/Lmax range fit)
  <0.5%
Total: <~1.1%

## Slide 19: Lmax determination
Scan step size is 0.3-0.5mm  in worst case we can miss the Lmax(x) by X=0.5/2=0.25 mm
For average case L~0.8mm R~0.1  P~0.5%
(if we take X uniformly distributed between 0 and 0.25mm  P<0.2%)
Uncertainty in P due to uncertainty Lmax is negligible

## Slide 20: Target vibration
X=Acos(xt)
A=1 mm
A=2 mm
A=0 mm
Pol. prof
P vs L/Lmax
Lum. prof
We don’t see indication in data that A > 2mm
For A = 1mm (2mm), P = 0.6% (1%)
Uncertainty due to target vibration is not sizable

## Slide 21: Gauss-ness of profiles (L/Lmax fit range)
Variation in R (by ~0.01) may be due to non-gaussian shape of polarization profile
This variation can be considered to be translated to global uncertainty (0.5% for jet normalization and 0.25% for experiments)
On fill level: syst. uncertainties are absorbed by stat. uncertainty (2/NDF~1)
All Run6 data for Yellow (~10000 points)
cut

## Slide 22: R distribution
R
R
Horizontal Profile:
  Variation in blue is 0 – 0.15
  Variation in yellow is 0.03 – 0.17
Vertical Profile (assumptions):
  Variation in both blue and yellow is 0 – 0.17 (0 – 0.22 at 62 GeV )
  <R> = 0.0850.085 (0.110.11 at 62 GeV)

## Slide 23: Uncertainties due to pol. profile
Global uncertainties:
  For Jet normalization (only horiz. profile matters): <1.1%
  In Run5: 0.5% for blue; 2.2% for yellow
  For experiments: 2.0% (vert. profile); horiz. is already included above
  In Run5: 4.0% for blue; 4.1% for yellow
Fill uncertainties:
  Stat. uncertainties from fit (horiz)  2.0% (vert)

## Slide 24
Jet
pC/Jet
pC