## field
PHENIX MUON Detector Wires
Tension calculation determines the frequency for forced oscillation of a taught wire.
the formula is T = 4*u*(f**2)*(l**2)/980; where:
T = tension in grams
u = linear density of wire in grams per centimeter
Density for tungsten = 19.35; BeCu = 8.55
l = length of wire in centimeters
f = frequency in cycles per second
Inputs: tension (grams) = |  |  |  |  | 75
wire density(gm/cm**3) = |  |  |  |  | 8.55 |  | wire radius(cm*10000) |  |  | 38.1
wire diameter (inch) = |  |  |  |  | 0.003 |  | wire diameter (cm) = |  |  | 0.00762
short wire length, left (in) = |  |  |  |  | 15.125 |  | short wire average length(cm)= |  |  | 38.4175
short wire length, right (in) = |  |  |  |  | 15.125
long wire length, left (in) = |  |  |  |  | 46.625 |  | long wire average length(cm)= |  |  | 118.4275
long wire length, right (in) = |  |  |  |  | 46.625 |  | holding calculation = |  |  | 13729.689
number of wires = |  |  |  |  | 320 |  | calculated linear density = |  |  | 0.00038991
number of oscillating loops = |  |  |  |  | 1 |  | wire increment (cm) = |  |  | 0.25082
[7 empty] | wire increment(cm)Left= |  |  | 0.25082
[5 empty] | Measured | Measured | **** Field Wires **** |  |  | % Error
|  |  | calculated | calculated | frequency | frequency | % Error | % Error | Average | between
wire # | length(L) | length(R) | frequency(L) | frequency(R) | left | right | left | right | % Error | left/right | Tension
1 | 38.4175 | 38.4175 | 178.6906 | 178.6906 | 79.5512 |  | -55.481 | -100 | -77.7405 | 100 | 14.8645
2 | 38.6683 | 38.6683 | 177.5315 | 177.5315 | 69.5275 |  | -60.8365 | -100 | -80.4183 | 100 | 11.5033
3 | 38.9191 | 38.9191 | 176.3874 | 176.3874 | 77.5467 |  | -56.0361 | -100 | -78.0181 | 100 | 14.4962
4 | 39.1699 | 39.1699 | 175.258 | 175.258 | 79.6359 |  | -54.5607 | -100 | -77.2804 | 100 | 15.4854
5 | 39.4208 | 39.4208 | 174.1429 | 174.1429 | 72.4465 |  | -58.3982 | -100 | -79.1991 | 100 | 12.9803
6 | 39.6716 | 39.6716 | 173.0419 | 173.0419 | 79.4436 |  | -54.09 | -100 | -77.045 | 100 | 15.808
7 | 39.9224 | 39.9224 | 171.9547 | 171.9547 | 75.9362 |  | -55.8394 | -100 | -77.9197 | 100 | 14.6262
8 | 40.1732 | 40.1732 | 170.8812 | 170.8812 | 76.5035 |  | -55.23 | -100 | -77.615 | 100 | 15.0326
9 | 40.424 | 40.424 | 169.8209 | 169.8209 | 73.9236 |  | -56.4697 | -100 | -78.2348 | 100 | 14.2117
10 | 40.6748 | 40.6748 | 168.7738 | 168.7738 | 83.369 |  | -50.6031 | -100 | -75.3016 | 100 | 18.3004
11 | 40.9257 | 40.9257 | 167.7394 | 167.7394 | 70.1342 |  | -58.1886 | -100 | -79.0943 | 100 | 13.1115
12 | 41.1765 | 41.1765 | 166.7177 | 166.7177 | 83.2719 |  | -50.0521 | -100 | -75.0261 | 100 | 18.7109
13 | 41.4273 | 41.4273 | 165.7083 | 165.7083 | 76.0663 |  | -54.0963 | -100 | -77.0481 | 100 | 15.8036
14 | 41.6781 | 41.6781 | 164.7111 | 164.7111 | 75.5388 |  | -54.1386 | -100 | -77.0693 | 100 | 15.7745
15 | 41.9289 | 41.9289 | 163.7258 | 163.7258 | 79.7773 |  | -51.2738 | -100 | -75.6369 | 100 | 17.8068
16 | 42.1797 | 42.1797 | 162.7522 | 162.7522 | 77.4629 |  | -52.4044 | -100 | -76.2022 | 100 | 16.99
17 | 42.4305 | 42.4305 | 161.7902 | 161.7902 | 77.3386 |  | -52.1982 | -100 | -76.0991 | 100 | 17.1376
18 | 42.6814 | 42.6814 | 160.8394 | 160.8394 | 75.8396 |  | -52.8476 | -100 | -76.4238 | 100 | 16.6751
19 | 42.9322 | 42.9322 | 159.8998 | 159.8998 | 80.2431 |  | -49.8167 | -100 | -74.9083 | 100 | 18.8878
20 | 43.183 | 43.183 | 158.971 | 158.971 | 77.3208 |  | -51.3617 | -100 | -75.6809 | 100 | 17.7426
21 | 43.4338 | 43.4338 | 158.053 | 158.053 |  |  | -100 | -100 | -100 | #DIV/0! | 0
22 | 43.6846 | 43.6846 | 157.1456 | 157.1456 |  |  | -100 | -100 | -100 | #DIV/0! | 0
23 | 43.9354 | 43.9354 | 156.2485 | 156.2485 |  |  | -100 | -100 | -100 | #DIV/0! | 0
24 | 44.1862 | 44.1862 | 155.3616 | 155.3616 |  |  | -100 | -100 | -100 | #DIV/0! | 0
25 | 44.4371 | 44.4371 | 154.4847 | 154.4847 |  |  | -100 | -100 | -100 | #DIV/0! | 0
26 | 44.6879 | 44.6879 | 153.6176 | 153.6176 |  |  | -100 | -100 | -100 | #DIV/0! | 0
27 | 44.9387 | 44.9387 | 152.7602 | 152.7602 |  |  | -100 | -100 | -100 | #DIV/0! | 0
28 | 45.1895 | 45.1895 | 151.9124 | 151.9124 |  |  | -100 | -100 | -100 | #DIV/0! | 0
29 | 45.4403 | 45.4403 | 151.0739 | 151.0739 |  |  | -100 | -100 | -100 | #DIV/0! | 0
30 | 45.6911 | 45.6911 | 150.2446 | 150.2446 |  |  | -100 | -100 | -100 | #DIV/0! | 0
31 | 45.942 | 45.942 | 149.4243 | 149.4243 |  |  | -100 | -100 | -100 | #DIV/0! | 0
32 | 46.1928 | 46.1928 | 148.613 | 148.613 |  |  | -100 | -100 | -100 | #DIV/0! | 0
33 | 46.4436 | 46.4436 | 147.8104 | 147.8104 |  |  | -100 | -100 | -100 | #DIV/0! | 0
34 | 46.6944 | 46.6944 | 147.0165 | 147.0165 |  |  | -100 | -100 | -100 | #DIV/0! | 0
35 | 46.9452 | 46.9452 | 146.231 | 146.231 |  |  | -100 | -100 | -100 | #DIV/0! | 0
36 | 47.196 | 47.196 | 145.4539 | 145.4539 |  |  | -100 | -100 | -100 | #DIV/0! | 0
37 | 47.4468 | 47.4468 | 144.685 | 144.685 |  |  | -100 | -100 | -100 | #DIV/0! | 0
38 | 47.6977 | 47.6977 | 143.9241 | 143.9241 |  |  | -100 | -100 | -100 | #DIV/0! | 0
39 | 47.9485 | 47.9485 | 143.1713 | 143.1713 |  |  | -100 | -100 | -100 | #DIV/0! | 0
40 | 48.1993 | 48.1993 | 142.4263 | 142.4263 |  |  | -100 | -100 | -100 | #DIV/0! | 0
41 | 48.4501 | 48.4501 | 141.689 | 141.689 |  |  | -100 | -100 | -100 | #DIV/0! | 0
42 | 48.7009 | 48.7009 | 140.9592 | 140.9592 |  |  | -100 | -100 | -100 | #DIV/0! | 0
43 | 48.9517 | 48.9517 | 140.237 | 140.237 |  |  | -100 | -100 | -100 | #DIV/0! | 0
44 | 49.2025 | 49.2025 | 139.5221 | 139.5221 |  |  | -100 | -100 | -100 | #DIV/0! | 0
45 | 49.4534 | 49.4534 | 138.8145 | 138.8145 |  |  | -100 | -100 | -100 | #DIV/0! | 0
46 | 49.7042 | 49.7042 | 138.114 | 138.114 |  |  | -100 | -100 | -100 | #DIV/0! | 0
47 | 49.955 | 49.955 | 137.4206 | 137.4206 |  |  | -100 | -100 | -100 | #DIV/0! | 0
48 | 50.2058 | 50.2058 | 136.7341 | 136.7341 |  |  | -100 | -100 | -100 | #DIV/0! | 0
49 | 50.4566 | 50.4566 | 136.0544 | 136.0544 |  |  | -100 | -100 | -100 | #DIV/0! | 0
50 | 50.7074 | 50.7074 | 135.3814 | 135.3814 |  |  | -100 | -100 | -100 | #DIV/0! | 0
51 | 50.9583 | 50.9583 | 134.7151 | 134.7151 |  |  | -100 | -100 | -100 | #DIV/0! | 0
52 | 51.2091 | 51.2091 | 134.0553 | 134.0553 |  |  | -100 | -100 | -100 | #DIV/0! | 0
53 | 51.4599 | 51.4599 | 133.4019 | 133.4019 |  |  | -100 | -100 | -100 | #DIV/0! | 0
54 | 51.7107 | 51.7107 | 132.7548 | 132.7548 |  |  | -100 | -100 | -100 | #DIV/0! | 0
55 | 51.9615 | 51.9615 | 132.114 | 132.114 |  |  | -100 | -100 | -100 | #DIV/0! | 0
56 | 52.2123 | 52.2123 | 131.4794 | 131.4794 |  |  | -100 | -100 | -100 | #DIV/0! | 0
57 | 52.4631 | 52.4631 | 130.8508 | 130.8508 |  |  | -100 | -100 | -100 | #DIV/0! | 0
58 | 52.714 | 52.714 | 130.2282 | 130.2282 |  |  | -100 | -100 | -100 | #DIV/0! | 0
59 | 52.9648 | 52.9648 | 129.6115 | 129.6115 |  |  | -100 | -100 | -100 | #DIV/0! | 0
60 | 53.2156 | 53.2156 | 129.0006 | 129.0006 |  |  | -100 | -100 | -100 | #DIV/0! | 0
61 | 53.4664 | 53.4664 | 128.3955 | 128.3955 |  |  | -100 | -100 | -100 | #DIV/0! | 0
62 | 53.7172 | 53.7172 | 127.796 | 127.796 |  |  | -100 | -100 | -100 | #DIV/0! | 0
63 | 53.968 | 53.968 | 127.2021 | 127.2021 |  |  | -100 | -100 | -100 | #DIV/0! | 0
64 | 54.2188 | 54.2188 | 126.6136 | 126.6136 |  |  | -100 | -100 | -100 | #DIV/0! | 0
65 | 54.4697 | 54.4697 | 126.0306 | 126.0306 |  |  | -100 | -100 | -100 | #DIV/0! | 0
66 | 54.7205 | 54.7205 | 125.4529 | 125.4529 |  |  | -100 | -100 | -100 | #DIV/0! | 0
67 | 54.9713 | 54.9713 | 124.8805 | 124.8805 |  |  | -100 | -100 | -100 | #DIV/0! | 0
68 | 55.2221 | 55.2221 | 124.3133 | 124.3133 |  |  | -100 | -100 | -100 | #DIV/0! | 0
69 | 55.4729 | 55.4729 | 123.7513 | 123.7513 |  |  | -100 | -100 | -100 | #DIV/0! | 0
70 | 55.7237 | 55.7237 | 123.1943 | 123.1943 |  |  | -100 | -100 | -100 | #DIV/0! | 0
71 | 55.9746 | 55.9746 | 122.6422 | 122.6422 |  |  | -100 | -100 | -100 | #DIV/0! | 0
72 | 56.2254 | 56.2254 | 122.0951 | 122.0951 |  |  | -100 | -100 | -100 | #DIV/0! | 0
73 | 56.4762 | 56.4762 | 121.5529 | 121.5529 |  |  | -100 | -100 | -100 | #DIV/0! | 0
74 | 56.727 | 56.727 | 121.0155 | 121.0155 |  |  | -100 | -100 | -100 | #DIV/0! | 0
75 | 56.9778 | 56.9778 | 120.4828 | 120.4828 |  |  | -100 | -100 | -100 | #DIV/0! | 0
76 | 57.2286 | 57.2286 | 119.9547 | 119.9547 |  |  | -100 | -100 | -100 | #DIV/0! | 0
77 | 57.4794 | 57.4794 | 119.4313 | 119.4313 |  |  | -100 | -100 | -100 | #DIV/0! | 0
78 | 57.7303 | 57.7303 | 118.9124 | 118.9124 |  |  | -100 | -100 | -100 | #DIV/0! | 0
79 | 57.9811 | 57.9811 | 118.398 | 118.398 |  |  | -100 | -100 | -100 | #DIV/0! | 0
80 | 58.2319 | 58.2319 | 117.8881 | 117.8881 |  |  | -100 | -100 | -100 | #DIV/0! | 0
81 | 58.4827 | 58.4827 | 117.3825 | 117.3825 |  |  | -100 | -100 | -100 | #DIV/0! | 0
82 | 58.7335 | 58.7335 | 116.8812 | 116.8812 |  |  | -100 | -100 | -100 | #DIV/0! | 0
83 | 58.9843 | 58.9843 | 116.3842 | 116.3842 |  |  | -100 | -100 | -100 | #DIV/0! | 0
84 | 59.2351 | 59.2351 | 115.8914 | 115.8914 |  |  | -100 | -100 | -100 | #DIV/0! | 0
85 | 59.486 | 59.486 | 115.4028 | 115.4028 |  |  | -100 | -100 | -100 | #DIV/0! | 0
86 | 59.7368 | 59.7368 | 114.9182 | 114.9182 |  |  | -100 | -100 | -100 | #DIV/0! | 0
87 | 59.9876 | 59.9876 | 114.4377 | 114.4377 |  |  | -100 | -100 | -100 | #DIV/0! | 0
88 | 60.2384 | 60.2384 | 113.9613 | 113.9613 |  |  | -100 | -100 | -100 | #DIV/0! | 0
89 | 60.4892 | 60.4892 | 113.4887 | 113.4887 |  |  | -100 | -100 | -100 | #DIV/0! | 0
90 | 60.74 | 60.74 | 113.0201 | 113.0201 |  |  | -100 | -100 | -100 | #DIV/0! | 0
91 | 60.9909 | 60.9909 | 112.5553 | 112.5553 |  |  | -100 | -100 | -100 | #DIV/0! | 0
92 | 61.2417 | 61.2417 | 112.0943 | 112.0943 |  |  | -100 | -100 | -100 | #DIV/0! | 0
93 | 61.4925 | 61.4925 | 111.6371 | 111.6371 |  |  | -100 | -100 | -100 | #DIV/0! | 0
94 | 61.7433 | 61.7433 | 111.1836 | 111.1836 |  |  | -100 | -100 | -100 | #DIV/0! | 0
95 | 61.9941 | 61.9941 | 110.7338 | 110.7338 |  |  | -100 | -100 | -100 | #DIV/0! | 0
96 | 62.2449 | 62.2449 | 110.2876 | 110.2876 |  |  | -100 | -100 | -100 | #DIV/0! | 0
97 | 62.4957 | 62.4957 | 109.845 | 109.845 |  |  | -100 | -100 | -100 | #DIV/0! | 0
98 | 62.7466 | 62.7466 | 109.4059 | 109.4059 |  |  | -100 | -100 | -100 | #DIV/0! | 0
99 | 62.9974 | 62.9974 | 108.9703 | 108.9703 |  |  | -100 | -100 | -100 | #DIV/0! | 0
100 | 63.2482 | 63.2482 | 108.5382 | 108.5382 |  |  | -100 | -100 | -100 | #DIV/0! | 0
101 | 63.499 | 63.499 | 108.1095 | 108.1095 |  |  | -100 | -100 | -100 | #DIV/0! | 0
102 | 63.7498 | 63.7498 | 107.6841 | 107.6841 |  |  | -100 | -100 | -100 | #DIV/0! | 0
103 | 64.0006 | 64.0006 | 107.2621 | 107.2621 |  |  | -100 | -100 | -100 | #DIV/0! | 0
104 | 64.2514 | 64.2514 | 106.8434 | 106.8434 |  |  | -100 | -100 | -100 | #DIV/0! | 0
105 | 64.5023 | 64.5023 | 106.428 | 106.428 |  |  | -100 | -100 | -100 | #DIV/0! | 0
106 | 64.7531 | 64.7531 | 106.0157 | 106.0157 |  |  | -100 | -100 | -100 | #DIV/0! | 0
107 | 65.0039 | 65.0039 | 105.6067 | 105.6067 |  |  | -100 | -100 | -100 | #DIV/0! | 0
108 | 65.2547 | 65.2547 | 105.2008 | 105.2008 |  |  | -100 | -100 | -100 | #DIV/0! | 0
109 | 65.5055 | 65.5055 | 104.7979 | 104.7979 |  |  | -100 | -100 | -100 | #DIV/0! | 0
110 | 65.7563 | 65.7563 | 104.3982 | 104.3982 |  |  | -100 | -100 | -100 | #DIV/0! | 0
111 | 66.0072 | 66.0072 | 104.0015 | 104.0015 |  |  | -100 | -100 | -100 | #DIV/0! | 0
112 | 66.258 | 66.258 | 103.6078 | 103.6078 |  |  | -100 | -100 | -100 | #DIV/0! | 0
113 | 66.5088 | 66.5088 | 103.2171 | 103.2171 |  |  | -100 | -100 | -100 | #DIV/0! | 0
114 | 66.7596 | 66.7596 | 102.8293 | 102.8293 |  |  | -100 | -100 | -100 | #DIV/0! | 0
115 | 67.0104 | 67.0104 | 102.4444 | 102.4444 |  |  | -100 | -100 | -100 | #DIV/0! | 0
116 | 67.2612 | 67.2612 | 102.0624 | 102.0624 |  |  | -100 | -100 | -100 | #DIV/0! | 0
117 | 67.512 | 67.512 | 101.6833 | 101.6833 |  |  | -100 | -100 | -100 | #DIV/0! | 0
118 | 67.7629 | 67.7629 | 101.3069 | 101.3069 |  |  | -100 | -100 | -100 | #DIV/0! | 0
119 | 68.0137 | 68.0137 | 100.9333 | 100.9333 |  |  | -100 | -100 | -100 | #DIV/0! | 0
120 | 68.2645 | 68.2645 | 100.5625 | 100.5625 |  |  | -100 | -100 | -100 | #DIV/0! | 0
121 | 68.5153 | 68.5153 | 100.1943 | 100.1943 |  |  | -100 | -100 | -100 | #DIV/0! | 0
122 | 68.7661 | 68.7661 | 99.8289 | 99.8289 |  |  | -100 | -100 | -100 | #DIV/0! | 0
123 | 69.0169 | 69.0169 | 99.4661 | 99.4661 |  |  | -100 | -100 | -100 | #DIV/0! | 0
124 | 69.2678 | 69.2678 | 99.1059 | 99.1059 |  |  | -100 | -100 | -100 | #DIV/0! | 0
125 | 69.5186 | 69.5186 | 98.7484 | 98.7484 |  |  | -100 | -100 | -100 | #DIV/0! | 0
126 | 69.7694 | 69.7694 | 98.3934 | 98.3934 |  |  | -100 | -100 | -100 | #DIV/0! | 0
127 | 70.0202 | 70.0202 | 98.0409 | 98.0409 |  |  | -100 | -100 | -100 | #DIV/0! | 0
128 | 70.271 | 70.271 | 97.691 | 97.691 |  |  | -100 | -100 | -100 | #DIV/0! | 0
129 | 70.5218 | 70.5218 | 97.3435 | 97.3435 |  |  | -100 | -100 | -100 | #DIV/0! | 0
130 | 70.7726 | 70.7726 | 96.9986 | 96.9986 |  |  | -100 | -100 | -100 | #DIV/0! | 0
131 | 71.0235 | 71.0235 | 96.656 | 96.656 |  |  | -100 | -100 | -100 | #DIV/0! | 0
132 | 71.2743 | 71.2743 | 96.3159 | 96.3159 |  |  | -100 | -100 | -100 | #DIV/0! | 0
133 | 71.5251 | 71.5251 | 95.9781 | 95.9781 |  |  | -100 | -100 | -100 | #DIV/0! | 0
134 | 71.7759 | 71.7759 | 95.6427 | 95.6427 |  |  | -100 | -100 | -100 | #DIV/0! | 0
135 | 72.0267 | 72.0267 | 95.3097 | 95.3097 |  |  | -100 | -100 | -100 | #DIV/0! | 0
136 | 72.2775 | 72.2775 | 94.979 | 94.979 |  |  | -100 | -100 | -100 | #DIV/0! | 0
137 | 72.5283 | 72.5283 | 94.6505 | 94.6505 |  |  | -100 | -100 | -100 | #DIV/0! | 0
138 | 72.7792 | 72.7792 | 94.3243 | 94.3243 |  |  | -100 | -100 | -100 | #DIV/0! | 0
139 | 73.03 | 73.03 | 94.0004 | 94.0004 |  |  | -100 | -100 | -100 | #DIV/0! | 0
140 | 73.2808 | 73.2808 | 93.6786 | 93.6786 |  |  | -100 | -100 | -100 | #DIV/0! | 0
141 | 73.5316 | 73.5316 | 93.3591 | 93.3591 |  |  | -100 | -100 | -100 | #DIV/0! | 0
142 | 73.7824 | 73.7824 | 93.0417 | 93.0417 |  |  | -100 | -100 | -100 | #DIV/0! | 0
143 | 74.0332 | 74.0332 | 92.7265 | 92.7265 |  |  | -100 | -100 | -100 | #DIV/0! | 0
144 | 74.2841 | 74.2841 | 92.4134 | 92.4134 |  |  | -100 | -100 | -100 | #DIV/0! | 0
145 | 74.5349 | 74.5349 | 92.1025 | 92.1025 |  |  | -100 | -100 | -100 | #DIV/0! | 0
146 | 74.7857 | 74.7857 | 91.7936 | 91.7936 |  |  | -100 | -100 | -100 | #DIV/0! | 0
147 | 75.0365 | 75.0365 | 91.4867 | 91.4867 |  |  | -100 | -100 | -100 | #DIV/0! | 0
148 | 75.2873 | 75.2873 | 91.182 | 91.182 |  |  | -100 | -100 | -100 | #DIV/0! | 0
149 | 75.5381 | 75.5381 | 90.8792 | 90.8792 |  |  | -100 | -100 | -100 | #DIV/0! | 0
150 | 75.7889 | 75.7889 | 90.5784 | 90.5784 |  |  | -100 | -100 | -100 | #DIV/0! | 0
151 | 76.0398 | 76.0398 | 90.2797 | 90.2797 |  |  | -100 | -100 | -100 | #DIV/0! | 0
152 | 76.2906 | 76.2906 | 89.9829 | 89.9829 |  |  | -100 | -100 | -100 | #DIV/0! | 0
153 | 76.5414 | 76.5414 | 89.688 | 89.688 |  |  | -100 | -100 | -100 | #DIV/0! | 0
154 | 76.7922 | 76.7922 | 89.3951 | 89.3951 |  |  | -100 | -100 | -100 | #DIV/0! | 0
155 | 77.043 | 77.043 | 89.104 | 89.104 |  |  | -100 | -100 | -100 | #DIV/0! | 0
156 | 77.2938 | 77.2938 | 88.8149 | 88.8149 |  |  | -100 | -100 | -100 | #DIV/0! | 0
157 | 77.5446 | 77.5446 | 88.5276 | 88.5276 |  |  | -100 | -100 | -100 | #DIV/0! | 0
158 | 77.7955 | 77.7955 | 88.2422 | 88.2422 |  |  | -100 | -100 | -100 | #DIV/0! | 0
159 | 78.0463 | 78.0463 | 87.9586 | 87.9586 |  |  | -100 | -100 | -100 | #DIV/0! | 0
160 | 78.2971 | 78.2971 | 87.6769 | 87.6769 |  |  | -100 | -100 | -100 | #DIV/0! | 0
161 | 78.5479 | 78.5479 | 87.3969 | 87.3969 |  |  | -100 | -100 | -100 | #DIV/0! | 0
162 | 78.7987 | 78.7987 | 87.1187 | 87.1187 |  |  | -100 | -100 | -100 | #DIV/0! | 0
163 | 79.0495 | 79.0495 | 86.8423 | 86.8423 |  |  | -100 | -100 | -100 | #DIV/0! | 0
164 | 79.3004 | 79.3004 | 86.5676 | 86.5676 |  |  | -100 | -100 | -100 | #DIV/0! | 0
165 | 79.5512 | 79.5512 | 86.2947 | 86.2947 |  |  | -100 | -100 | -100 | #DIV/0! | 0
166 | 79.802 | 79.802 | 86.0235 | 86.0235 |  |  | -100 | -100 | -100 | #DIV/0! | 0
167 | 80.0528 | 80.0528 | 85.754 | 85.754 |  |  | -100 | -100 | -100 | #DIV/0! | 0
168 | 80.3036 | 80.3036 | 85.4861 | 85.4861 |  |  | -100 | -100 | -100 | #DIV/0! | 0
169 | 80.5544 | 80.5544 | 85.22 | 85.22 |  |  | -100 | -100 | -100 | #DIV/0! | 0
170 | 80.8052 | 80.8052 | 84.9554 | 84.9554 |  |  | -100 | -100 | -100 | #DIV/0! | 0
171 | 81.0561 | 81.0561 | 84.6926 | 84.6926 |  |  | -100 | -100 | -100 | #DIV/0! | 0
172 | 81.3069 | 81.3069 | 84.4313 | 84.4313 |  |  | -100 | -100 | -100 | #DIV/0! | 0
173 | 81.5577 | 81.5577 | 84.1716 | 84.1716 |  |  | -100 | -100 | -100 | #DIV/0! | 0
174 | 81.8085 | 81.8085 | 83.9136 | 83.9136 |  |  | -100 | -100 | -100 | #DIV/0! | 0
175 | 82.0593 | 82.0593 | 83.6571 | 83.6571 |  |  | -100 | -100 | -100 | #DIV/0! | 0
176 | 82.3101 | 82.3101 | 83.4022 | 83.4022 |  |  | -100 | -100 | -100 | #DIV/0! | 0
177 | 82.5609 | 82.5609 | 83.1488 | 83.1488 |  |  | -100 | -100 | -100 | #DIV/0! | 0
178 | 82.8118 | 82.8118 | 82.897 | 82.897 |  |  | -100 | -100 | -100 | #DIV/0! | 0
179 | 83.0626 | 83.0626 | 82.6467 | 82.6467 |  |  | -100 | -100 | -100 | #DIV/0! | 0
180 | 83.3134 | 83.3134 | 82.3979 | 82.3979 |  |  | -100 | -100 | -100 | #DIV/0! | 0
181 | 83.5642 | 83.5642 | 82.1505 | 82.1505 |  |  | -100 | -100 | -100 | #DIV/0! | 0
182 | 83.815 | 83.815 | 81.9047 | 81.9047 |  |  | -100 | -100 | -100 | #DIV/0! | 0
183 | 84.0658 | 84.0658 | 81.6603 | 81.6603 |  |  | -100 | -100 | -100 | #DIV/0! | 0
184 | 84.3167 | 84.3167 | 81.4174 | 81.4174 |  |  | -100 | -100 | -100 | #DIV/0! | 0
185 | 84.5675 | 84.5675 | 81.1759 | 81.1759 |  |  | -100 | -100 | -100 | #DIV/0! | 0
186 | 84.8183 | 84.8183 | 80.9359 | 80.9359 |  |  | -100 | -100 | -100 | #DIV/0! | 0
187 | 85.0691 | 85.0691 | 80.6973 | 80.6973 |  |  | -100 | -100 | -100 | #DIV/0! | 0
188 | 85.3199 | 85.3199 | 80.46 | 80.46 |  |  | -100 | -100 | -100 | #DIV/0! | 0
189 | 85.5707 | 85.5707 | 80.2242 | 80.2242 |  |  | -100 | -100 | -100 | #DIV/0! | 0
190 | 85.8215 | 85.8215 | 79.9898 | 79.9898 |  |  | -100 | -100 | -100 | #DIV/0! | 0
191 | 86.0724 | 86.0724 | 79.7567 | 79.7567 |  |  | -100 | -100 | -100 | #DIV/0! | 0
192 | 86.3232 | 86.3232 | 79.5249 | 79.5249 |  |  | -100 | -100 | -100 | #DIV/0! | 0
193 | 86.574 | 86.574 | 79.2945 | 79.2945 |  |  | -100 | -100 | -100 | #DIV/0! | 0
194 | 86.8248 | 86.8248 | 79.0655 | 79.0655 |  |  | -100 | -100 | -100 | #DIV/0! | 0
195 | 87.0756 | 87.0756 | 78.8377 | 78.8377 |  |  | -100 | -100 | -100 | #DIV/0! | 0
196 | 87.3264 | 87.3264 | 78.6113 | 78.6113 |  |  | -100 | -100 | -100 | #DIV/0! | 0
197 | 87.5772 | 87.5772 | 78.3862 | 78.3862 |  |  | -100 | -100 | -100 | #DIV/0! | 0
198 | 87.8281 | 87.8281 | 78.1623 | 78.1623 |  |  | -100 | -100 | -100 | #DIV/0! | 0
199 | 88.0789 | 88.0789 | 77.9397 | 77.9397 |  |  | -100 | -100 | -100 | #DIV/0! | 0
200 | 88.3297 | 88.3297 | 77.7184 | 77.7184 |  |  | -100 | -100 | -100 | #DIV/0! | 0
201 | 88.5805 | 88.5805 | 77.4984 | 77.4984 |  |  | -100 | -100 | -100 | #DIV/0! | 0
202 | 88.8313 | 88.8313 | 77.2795 | 77.2795 |  |  | -100 | -100 | -100 | #DIV/0! | 0
203 | 89.0821 | 89.0821 | 77.062 | 77.062 |  |  | -100 | -100 | -100 | #DIV/0! | 0
204 | 89.333 | 89.333 | 76.8456 | 76.8456 |  |  | -100 | -100 | -100 | #DIV/0! | 0
205 | 89.5838 | 89.5838 | 76.6304 | 76.6304 |  |  | -100 | -100 | -100 | #DIV/0! | 0
206 | 89.8346 | 89.8346 | 76.4165 | 76.4165 |  |  | -100 | -100 | -100 | #DIV/0! | 0
207 | 90.0854 | 90.0854 | 76.2037 | 76.2037 |  |  | -100 | -100 | -100 | #DIV/0! | 0
208 | 90.3362 | 90.3362 | 75.9922 | 75.9922 |  |  | -100 | -100 | -100 | #DIV/0! | 0
209 | 90.587 | 90.587 | 75.7818 | 75.7818 |  |  | -100 | -100 | -100 | #DIV/0! | 0
210 | 90.8378 | 90.8378 | 75.5725 | 75.5725 |  |  | -100 | -100 | -100 | #DIV/0! | 0
211 | 91.0887 | 91.0887 | 75.3644 | 75.3644 |  |  | -100 | -100 | -100 | #DIV/0! | 0
212 | 91.3395 | 91.3395 | 75.1575 | 75.1575 |  |  | -100 | -100 | -100 | #DIV/0! | 0
213 | 91.5903 | 91.5903 | 74.9517 | 74.9517 |  |  | -100 | -100 | -100 | #DIV/0! | 0
214 | 91.8411 | 91.8411 | 74.747 | 74.747 |  |  | -100 | -100 | -100 | #DIV/0! | 0
215 | 92.0919 | 92.0919 | 74.5434 | 74.5434 |  |  | -100 | -100 | -100 | #DIV/0! | 0
216 | 92.3427 | 92.3427 | 74.3409 | 74.3409 |  |  | -100 | -100 | -100 | #DIV/0! | 0
217 | 92.5936 | 92.5936 | 74.1396 | 74.1396 |  |  | -100 | -100 | -100 | #DIV/0! | 0
218 | 92.8444 | 92.8444 | 73.9393 | 73.9393 |  |  | -100 | -100 | -100 | #DIV/0! | 0
219 | 93.0952 | 93.0952 | 73.7401 | 73.7401 |  |  | -100 | -100 | -100 | #DIV/0! | 0
220 | 93.346 | 93.346 | 73.5419 | 73.5419 |  |  | -100 | -100 | -100 | #DIV/0! | 0
221 | 93.5968 | 93.5968 | 73.3449 | 73.3449 |  |  | -100 | -100 | -100 | #DIV/0! | 0
222 | 93.8476 | 93.8476 | 73.1488 | 73.1488 |  |  | -100 | -100 | -100 | #DIV/0! | 0
223 | 94.0984 | 94.0984 | 72.9539 | 72.9539 |  |  | -100 | -100 | -100 | #DIV/0! | 0
224 | 94.3493 | 94.3493 | 72.7599 | 72.7599 |  |  | -100 | -100 | -100 | #DIV/0! | 0
225 | 94.6001 | 94.6001 | 72.567 | 72.567 |  |  | -100 | -100 | -100 | #DIV/0! | 0
226 | 94.8509 | 94.8509 | 72.3751 | 72.3751 |  |  | -100 | -100 | -100 | #DIV/0! | 0
227 | 95.1017 | 95.1017 | 72.1842 | 72.1842 |  |  | -100 | -100 | -100 | #DIV/0! | 0
228 | 95.3525 | 95.3525 | 71.9944 | 71.9944 |  |  | -100 | -100 | -100 | #DIV/0! | 0
229 | 95.6033 | 95.6033 | 71.8055 | 71.8055 |  |  | -100 | -100 | -100 | #DIV/0! | 0
230 | 95.8541 | 95.8541 | 71.6176 | 71.6176 |  |  | -100 | -100 | -100 | #DIV/0! | 0
231 | 96.105 | 96.105 | 71.4307 | 71.4307 |  |  | -100 | -100 | -100 | #DIV/0! | 0
232 | 96.3558 | 96.3558 | 71.2448 | 71.2448 |  |  | -100 | -100 | -100 | #DIV/0! | 0
233 | 96.6066 | 96.6066 | 71.0598 | 71.0598 |  |  | -100 | -100 | -100 | #DIV/0! | 0
234 | 96.8574 | 96.8574 | 70.8758 | 70.8758 |  |  | -100 | -100 | -100 | #DIV/0! | 0
235 | 97.1082 | 97.1082 | 70.6927 | 70.6927 |  |  | -100 | -100 | -100 | #DIV/0! | 0
236 | 97.359 | 97.359 | 70.5106 | 70.5106 |  |  | -100 | -100 | -100 | #DIV/0! | 0
237 | 97.6099 | 97.6099 | 70.3294 | 70.3294 |  |  | -100 | -100 | -100 | #DIV/0! | 0
238 | 97.8607 | 97.8607 | 70.1492 | 70.1492 |  |  | -100 | -100 | -100 | #DIV/0! | 0
239 | 98.1115 | 98.1115 | 69.9698 | 69.9698 |  |  | -100 | -100 | -100 | #DIV/0! | 0
240 | 98.3623 | 98.3623 | 69.7914 | 69.7914 |  |  | -100 | -100 | -100 | #DIV/0! | 0
241 | 98.6131 | 98.6131 | 69.6139 | 69.6139 |  |  | -100 | -100 | -100 | #DIV/0! | 0
242 | 98.8639 | 98.8639 | 69.4373 | 69.4373 |  |  | -100 | -100 | -100 | #DIV/0! | 0
243 | 99.1147 | 99.1147 | 69.2616 | 69.2616 |  |  | -100 | -100 | -100 | #DIV/0! | 0
244 | 99.3656 | 99.3656 | 69.0868 | 69.0868 |  |  | -100 | -100 | -100 | #DIV/0! | 0
245 | 99.6164 | 99.6164 | 68.9128 | 68.9128 |  |  | -100 | -100 | -100 | #DIV/0! | 0
246 | 99.8672 | 99.8672 | 68.7397 | 68.7397 |  |  | -100 | -100 | -100 | #DIV/0! | 0
247 | 100.118 | 100.118 | 68.5675 | 68.5675 |  |  | -100 | -100 | -100 | #DIV/0! | 0
248 | 100.3688 | 100.3688 | 68.3962 | 68.3962 |  |  | -100 | -100 | -100 | #DIV/0! | 0
249 | 100.6196 | 100.6196 | 68.2257 | 68.2257 |  |  | -100 | -100 | -100 | #DIV/0! | 0
250 | 100.8704 | 100.8704 | 68.0561 | 68.0561 |  |  | -100 | -100 | -100 | #DIV/0! | 0
251 | 101.1213 | 101.1213 | 67.8873 | 67.8873 |  |  | -100 | -100 | -100 | #DIV/0! | 0
252 | 101.3721 | 101.3721 | 67.7193 | 67.7193 |  |  | -100 | -100 | -100 | #DIV/0! | 0
253 | 101.6229 | 101.6229 | 67.5521 | 67.5521 |  |  | -100 | -100 | -100 | #DIV/0! | 0
254 | 101.8737 | 101.8737 | 67.3858 | 67.3858 |  |  | -100 | -100 | -100 | #DIV/0! | 0
255 | 102.1245 | 102.1245 | 67.2203 | 67.2203 |  |  | -100 | -100 | -100 | #DIV/0! | 0
256 | 102.3753 | 102.3753 | 67.0556 | 67.0556 |  |  | -100 | -100 | -100 | #DIV/0! | 0
257 | 102.6262 | 102.6262 | 66.8918 | 66.8918 |  |  | -100 | -100 | -100 | #DIV/0! | 0
258 | 102.877 | 102.877 | 66.7287 | 66.7287 |  |  | -100 | -100 | -100 | #DIV/0! | 0
259 | 103.1278 | 103.1278 | 66.5664 | 66.5664 |  |  | -100 | -100 | -100 | #DIV/0! | 0
260 | 103.3786 | 103.3786 | 66.4049 | 66.4049 |  |  | -100 | -100 | -100 | #DIV/0! | 0
261 | 103.6294 | 103.6294 | 66.2442 | 66.2442 |  |  | -100 | -100 | -100 | #DIV/0! | 0
262 | 103.8802 | 103.8802 | 66.0842 | 66.0842 |  |  | -100 | -100 | -100 | #DIV/0! | 0
263 | 104.131 | 104.131 | 65.9251 | 65.9251 |  |  | -100 | -100 | -100 | #DIV/0! | 0
264 | 104.3819 | 104.3819 | 65.7666 | 65.7666 |  |  | -100 | -100 | -100 | #DIV/0! | 0
265 | 104.6327 | 104.6327 | 65.609 | 65.609 |  |  | -100 | -100 | -100 | #DIV/0! | 0
266 | 104.8835 | 104.8835 | 65.4521 | 65.4521 |  |  | -100 | -100 | -100 | #DIV/0! | 0
267 | 105.1343 | 105.1343 | 65.296 | 65.296 |  |  | -100 | -100 | -100 | #DIV/0! | 0
268 | 105.3851 | 105.3851 | 65.1405 | 65.1405 |  |  | -100 | -100 | -100 | #DIV/0! | 0
269 | 105.6359 | 105.6359 | 64.9859 | 64.9859 |  |  | -100 | -100 | -100 | #DIV/0! | 0
270 | 105.8867 | 105.8867 | 64.832 | 64.832 |  |  | -100 | -100 | -100 | #DIV/0! | 0
271 | 106.1376 | 106.1376 | 64.6787 | 64.6787 |  |  | -100 | -100 | -100 | #DIV/0! | 0
272 | 106.3884 | 106.3884 | 64.5263 | 64.5263 |  |  | -100 | -100 | -100 | #DIV/0! | 0
273 | 106.6392 | 106.6392 | 64.3745 | 64.3745 |  |  | -100 | -100 | -100 | #DIV/0! | 0
274 | 106.89 | 106.89 | 64.2234 | 64.2234 |  |  | -100 | -100 | -100 | #DIV/0! | 0
275 | 107.1408 | 107.1408 | 64.0731 | 64.0731 |  |  | -100 | -100 | -100 | #DIV/0! | 0
276 | 107.3916 | 107.3916 | 63.9235 | 63.9235 |  |  | -100 | -100 | -100 | #DIV/0! | 0
277 | 107.6425 | 107.6425 | 63.7745 | 63.7745 |  |  | -100 | -100 | -100 | #DIV/0! | 0
278 | 107.8933 | 107.8933 | 63.6263 | 63.6263 |  |  | -100 | -100 | -100 | #DIV/0! | 0
279 | 108.1441 | 108.1441 | 63.4787 | 63.4787 |  |  | -100 | -100 | -100 | #DIV/0! | 0
280 | 108.3949 | 108.3949 | 63.3318 | 63.3318 |  |  | -100 | -100 | -100 | #DIV/0! | 0
281 | 108.6457 | 108.6457 | 63.1856 | 63.1856 |  |  | -100 | -100 | -100 | #DIV/0! | 0
282 | 108.8965 | 108.8965 | 63.0401 | 63.0401 |  |  | -100 | -100 | -100 | #DIV/0! | 0
283 | 109.1473 | 109.1473 | 62.8952 | 62.8952 |  |  | -100 | -100 | -100 | #DIV/0! | 0
284 | 109.3982 | 109.3982 | 62.751 | 62.751 |  |  | -100 | -100 | -100 | #DIV/0! | 0
285 | 109.649 | 109.649 | 62.6075 | 62.6075 |  |  | -100 | -100 | -100 | #DIV/0! | 0
286 | 109.8998 | 109.8998 | 62.4646 | 62.4646 |  |  | -100 | -100 | -100 | #DIV/0! | 0
287 | 110.1506 | 110.1506 | 62.3224 | 62.3224 |  |  | -100 | -100 | -100 | #DIV/0! | 0
288 | 110.4014 | 110.4014 | 62.1808 | 62.1808 |  |  | -100 | -100 | -100 | #DIV/0! | 0
289 | 110.6522 | 110.6522 | 62.0398 | 62.0398 |  |  | -100 | -100 | -100 | #DIV/0! | 0
290 | 110.903 | 110.903 | 61.8995 | 61.8995 |  |  | -100 | -100 | -100 | #DIV/0! | 0
291 | 111.1539 | 111.1539 | 61.7598 | 61.7598 |  |  | -100 | -100 | -100 | #DIV/0! | 0
292 | 111.4047 | 111.4047 | 61.6208 | 61.6208 |  |  | -100 | -100 | -100 | #DIV/0! | 0
293 | 111.6555 | 111.6555 | 61.4824 | 61.4824 |  |  | -100 | -100 | -100 | #DIV/0! | 0
294 | 111.9063 | 111.9063 | 61.3446 | 61.3446 |  |  | -100 | -100 | -100 | #DIV/0! | 0
295 | 112.1571 | 112.1571 | 61.2074 | 61.2074 |  |  | -100 | -100 | -100 | #DIV/0! | 0
296 | 112.4079 | 112.4079 | 61.0708 | 61.0708 |  |  | -100 | -100 | -100 | #DIV/0! | 0
297 | 112.6588 | 112.6588 | 60.9349 | 60.9349 |  |  | -100 | -100 | -100 | #DIV/0! | 0
298 | 112.9096 | 112.9096 | 60.7995 | 60.7995 |  |  | -100 | -100 | -100 | #DIV/0! | 0
299 | 113.1604 | 113.1604 | 60.6647 | 60.6647 |  |  | -100 | -100 | -100 | #DIV/0! | 0
300 | 113.4112 | 113.4112 | 60.5306 | 60.5306 |  |  | -100 | -100 | -100 | #DIV/0! | 0
301 | 113.662 | 113.662 | 60.397 | 60.397 |  |  | -100 | -100 | -100 | #DIV/0! | 0
302 | 113.9128 | 113.9128 | 60.264 | 60.264 |  |  | -100 | -100 | -100 | #DIV/0! | 0
303 | 114.1636 | 114.1636 | 60.1316 | 60.1316 |  |  | -100 | -100 | -100 | #DIV/0! | 0
304 | 114.4145 | 114.4145 | 59.9998 | 59.9998 |  |  | -100 | -100 | -100 | #DIV/0! | 0
305 | 114.6653 | 114.6653 | 59.8686 | 59.8686 |  |  | -100 | -100 | -100 | #DIV/0! | 0
306 | 114.9161 | 114.9161 | 59.7379 | 59.7379 |  |  | -100 | -100 | -100 | #DIV/0! | 0
307 | 115.1669 | 115.1669 | 59.6078 | 59.6078 |  |  | -100 | -100 | -100 | #DIV/0! | 0
308 | 115.4177 | 115.4177 | 59.4783 | 59.4783 |  |  | -100 | -100 | -100 | #DIV/0! | 0
309 | 115.6685 | 115.6685 | 59.3493 | 59.3493 |  |  | -100 | -100 | -100 | #DIV/0! | 0
310 | 115.9193 | 115.9193 | 59.2209 | 59.2209 |  |  | -100 | -100 | -100 | #DIV/0! | 0
311 | 116.1702 | 116.1702 | 59.093 | 59.093 |  |  | -100 | -100 | -100 | #DIV/0! | 0
312 | 116.421 | 116.421 | 58.9657 | 58.9657 |  |  | -100 | -100 | -100 | #DIV/0! | 0
313 | 116.6718 | 116.6718 | 58.8389 | 58.8389 |  |  | -100 | -100 | -100 | #DIV/0! | 0
314 | 116.9226 | 116.9226 | 58.7127 | 58.7127 |  |  | -100 | -100 | -100 | #DIV/0! | 0
315 | 117.1734 | 117.1734 | 58.587 | 58.587 |  |  | -100 | -100 | -100 | #DIV/0! | 0
316 | 117.4242 | 117.4242 | 58.4619 | 58.4619 |  |  | -100 | -100 | -100 | #DIV/0! | 0
317 | 117.6751 | 117.6751 | 58.3373 | 58.3373 |  |  | -100 | -100 | -100 | #DIV/0! | 0
318 | 117.9259 | 117.9259 | 58.2132 | 58.2132 |  |  | -100 | -100 | -100 | #DIV/0! | 0
319 | 118.1767 | 118.1767 | 58.0897 | 58.0897 |  |  | -100 | -100 | -100 | #DIV/0! | 0
320 | 118.4275 | 118.4275 | 57.9666 | 57.9666 |  |  | -100 | -100 | -100 | #DIV/0! | 0

## anode
PHENIX MUON Detector Wires
Tension calculation determines the frequency for forced oscillation of a taught wire.
the formula is T = 4*u*(f**2)*(l**2)/980; where:
T = tension in grams
u = linear density of wire in grams per centimeter
Density for tungsten = 19.35; BeCu = 8.55
l = length of wire in centimeters
f = frequency in cycles per second
Inputs: tension (grams) = |  |  |  |  | 50
wire density(gm/cm**3) = |  |  |  |  | 19.35 |  | wire radius(cm*10000) |  |  | 10
wire diameter (inch) = |  |  |  |  | 0.0007874 |  | wire diameter (cm) = |  |  | 0.002
short wire length, left (in) = |  |  |  |  | 15.125 |  | short wire average length(cm)= |  |  | 38.4175
short wire length, right (in) = |  |  |  |  | 15.125
long wire length, left (in) = |  |  |  |  | 46.625 |  | long wire average length(cm)= |  |  | 118.4275
long wire length, right (in) = |  |  |  |  | 46.625 |  | holding calculation = |  |  | 28391.1261
number of wires = |  |  |  |  | 319 |  | calculated linear density = |  |  | 6.079e-05
number of oscillating loops = |  |  |  |  | 1 |  | wire increment (cm) = |  |  | 0.2516
[7 empty] | wire increment(cm)Left= |  |  | 0.2516
[5 empty] | Measured | Measured | **** Field Wires **** |  |  | % Error
|  |  | calculated | calculated | frequency | frequency | % Error | % Error | Average | between
wire # | length(L) | length(R) | frequency(L) | frequency(R) | left | right | left | right | % Error | left/right | Tension | Measured Tension | error
1 | 38.4175 | 38.4175 | 369.5077 | 369.5077 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 50 | 0
2 | 38.6691 | 38.6691 | 367.1035 | 367.1035 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
3 | 38.9207 | 38.9207 | 364.7303 | 364.7303 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
4 | 39.1723 | 39.1723 | 362.3877 | 362.3877 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
5 | 39.4239 | 39.4239 | 360.0749 | 360.0749 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
6 | 39.6755 | 39.6755 | 357.7915 | 357.7915 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
7 | 39.9271 | 39.9271 | 355.5368 | 355.5368 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
8 | 40.1787 | 40.1787 | 353.3104 | 353.3104 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
9 | 40.4303 | 40.4303 | 351.1117 | 351.1117 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
10 | 40.6819 | 40.6819 | 348.9402 | 348.9402 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
11 | 40.9335 | 40.9335 | 346.7954 | 346.7954 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
12 | 41.1851 | 41.1851 | 344.6768 | 344.6768 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
13 | 41.4367 | 41.4367 | 342.5839 | 342.5839 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
14 | 41.6883 | 41.6883 | 340.5163 | 340.5163 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
15 | 41.94 | 41.94 | 338.4735 | 338.4735 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
16 | 42.1916 | 42.1916 | 336.4551 | 336.4551 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
17 | 42.4432 | 42.4432 | 334.4606 | 334.4606 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
18 | 42.6948 | 42.6948 | 332.4896 | 332.4896 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
19 | 42.9464 | 42.9464 | 330.5416 | 330.5416 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
20 | 43.198 | 43.198 | 328.6164 | 328.6164 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
21 | 43.4496 | 43.4496 | 326.7135 | 326.7135 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
22 | 43.7012 | 43.7012 | 324.8325 | 324.8325 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
23 | 43.9528 | 43.9528 | 322.973 | 322.973 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
24 | 44.2044 | 44.2044 | 321.1347 | 321.1347 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
25 | 44.456 | 44.456 | 319.3172 | 319.3172 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
26 | 44.7076 | 44.7076 | 317.5202 | 317.5202 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
27 | 44.9592 | 44.9592 | 315.7432 | 315.7432 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
28 | 45.2108 | 45.2108 | 313.9861 | 313.9861 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
29 | 45.4624 | 45.4624 | 312.2484 | 312.2484 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
30 | 45.714 | 45.714 | 310.5298 | 310.5298 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
31 | 45.9656 | 45.9656 | 308.8301 | 308.8301 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
32 | 46.2172 | 46.2172 | 307.1488 | 307.1488 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
33 | 46.4688 | 46.4688 | 305.4858 | 305.4858 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
34 | 46.7204 | 46.7204 | 303.8406 | 303.8406 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
35 | 46.972 | 46.972 | 302.2131 | 302.2131 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
36 | 47.2236 | 47.2236 | 300.6029 | 300.6029 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
37 | 47.4752 | 47.4752 | 299.0098 | 299.0098 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
38 | 47.7268 | 47.7268 | 297.4335 | 297.4335 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
39 | 47.9784 | 47.9784 | 295.8738 | 295.8738 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
40 | 48.23 | 48.23 | 294.3303 | 294.3303 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
41 | 48.4817 | 48.4817 | 292.8028 | 292.8028 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
42 | 48.7333 | 48.7333 | 291.2911 | 291.2911 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
43 | 48.9849 | 48.9849 | 289.7949 | 289.7949 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
44 | 49.2365 | 49.2365 | 288.314 | 288.314 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
45 | 49.4881 | 49.4881 | 286.8482 | 286.8482 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
46 | 49.7397 | 49.7397 | 285.3972 | 285.3972 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
47 | 49.9913 | 49.9913 | 283.9608 | 283.9608 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
48 | 50.2429 | 50.2429 | 282.5388 | 282.5388 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
49 | 50.4945 | 50.4945 | 281.131 | 281.131 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
50 | 50.7461 | 50.7461 | 279.7371 | 279.7371 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
51 | 50.9977 | 50.9977 | 278.357 | 278.357 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
52 | 51.2493 | 51.2493 | 276.9904 | 276.9904 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
53 | 51.5009 | 51.5009 | 275.6372 | 275.6372 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
54 | 51.7525 | 51.7525 | 274.2971 | 274.2971 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
55 | 52.0041 | 52.0041 | 272.9701 | 272.9701 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
56 | 52.2557 | 52.2557 | 271.6557 | 271.6557 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
57 | 52.5073 | 52.5073 | 270.354 | 270.354 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
58 | 52.7589 | 52.7589 | 269.0647 | 269.0647 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
59 | 53.0105 | 53.0105 | 267.7877 | 267.7877 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
60 | 53.2621 | 53.2621 | 266.5227 | 266.5227 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
61 | 53.5137 | 53.5137 | 265.2696 | 265.2696 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
62 | 53.7653 | 53.7653 | 264.0282 | 264.0282 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
63 | 54.0169 | 54.0169 | 262.7984 | 262.7984 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
64 | 54.2685 | 54.2685 | 261.58 | 261.58 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
65 | 54.5201 | 54.5201 | 260.3728 | 260.3728 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
66 | 54.7717 | 54.7717 | 259.1768 | 259.1768 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
67 | 55.0233 | 55.0233 | 257.9916 | 257.9916 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
68 | 55.275 | 55.275 | 256.8173 | 256.8173 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
69 | 55.5266 | 55.5266 | 255.6536 | 255.6536 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
70 | 55.7782 | 55.7782 | 254.5004 | 254.5004 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
71 | 56.0298 | 56.0298 | 253.3575 | 253.3575 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
72 | 56.2814 | 56.2814 | 252.2249 | 252.2249 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
73 | 56.533 | 56.533 | 251.1024 | 251.1024 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
74 | 56.7846 | 56.7846 | 249.9898 | 249.9898 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
75 | 57.0362 | 57.0362 | 248.887 | 248.887 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
76 | 57.2878 | 57.2878 | 247.7939 | 247.7939 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
77 | 57.5394 | 57.5394 | 246.7104 | 246.7104 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
78 | 57.791 | 57.791 | 245.6363 | 245.6363 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
79 | 58.0426 | 58.0426 | 244.5715 | 244.5715 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
80 | 58.2942 | 58.2942 | 243.5159 | 243.5159 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
81 | 58.5458 | 58.5458 | 242.4694 | 242.4694 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
82 | 58.7974 | 58.7974 | 241.4318 | 241.4318 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
83 | 59.049 | 59.049 | 240.4031 | 240.4031 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
84 | 59.3006 | 59.3006 | 239.3831 | 239.3831 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
85 | 59.5522 | 59.5522 | 238.3717 | 238.3717 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
86 | 59.8038 | 59.8038 | 237.3688 | 237.3688 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
87 | 60.0554 | 60.0554 | 236.3744 | 236.3744 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
88 | 60.307 | 60.307 | 235.3882 | 235.3882 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
89 | 60.5586 | 60.5586 | 234.4102 | 234.4102 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
90 | 60.8102 | 60.8102 | 233.4404 | 233.4404 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
91 | 61.0618 | 61.0618 | 232.4785 | 232.4785 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
92 | 61.3134 | 61.3134 | 231.5245 | 231.5245 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
93 | 61.565 | 61.565 | 230.5783 | 230.5783 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
94 | 61.8167 | 61.8167 | 229.6398 | 229.6398 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
95 | 62.0683 | 62.0683 | 228.7089 | 228.7089 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
96 | 62.3199 | 62.3199 | 227.7855 | 227.7855 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
97 | 62.5715 | 62.5715 | 226.8696 | 226.8696 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
98 | 62.8231 | 62.8231 | 225.961 | 225.961 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
99 | 63.0747 | 63.0747 | 225.0596 | 225.0596 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
100 | 63.3263 | 63.3263 | 224.1655 | 224.1655 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
101 | 63.5779 | 63.5779 | 223.2783 | 223.2783 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
102 | 63.8295 | 63.8295 | 222.3982 | 222.3982 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
103 | 64.0811 | 64.0811 | 221.525 | 221.525 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
104 | 64.3327 | 64.3327 | 220.6586 | 220.6586 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
105 | 64.5843 | 64.5843 | 219.799 | 219.799 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
106 | 64.8359 | 64.8359 | 218.946 | 218.946 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
107 | 65.0875 | 65.0875 | 218.0997 | 218.0997 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
108 | 65.3391 | 65.3391 | 217.2598 | 217.2598 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
109 | 65.5907 | 65.5907 | 216.4264 | 216.4264 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
110 | 65.8423 | 65.8423 | 215.5994 | 215.5994 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
111 | 66.0939 | 66.0939 | 214.7787 | 214.7787 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
112 | 66.3455 | 66.3455 | 213.9642 | 213.9642 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
113 | 66.5971 | 66.5971 | 213.1558 | 213.1558 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
114 | 66.8487 | 66.8487 | 212.3535 | 212.3535 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
115 | 67.1003 | 67.1003 | 211.5573 | 211.5573 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
116 | 67.3519 | 67.3519 | 210.767 | 210.767 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
117 | 67.6035 | 67.6035 | 209.9825 | 209.9825 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
118 | 67.8551 | 67.8551 | 209.2039 | 209.2039 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
119 | 68.1067 | 68.1067 | 208.4311 | 208.4311 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
120 | 68.3583 | 68.3583 | 207.6639 | 207.6639 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
121 | 68.61 | 68.61 | 206.9024 | 206.9024 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
122 | 68.8616 | 68.8616 | 206.1464 | 206.1464 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
123 | 69.1132 | 69.1132 | 205.3959 | 205.3959 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
124 | 69.3648 | 69.3648 | 204.6509 | 204.6509 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
125 | 69.6164 | 69.6164 | 203.9113 | 203.9113 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
126 | 69.868 | 69.868 | 203.177 | 203.177 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
127 | 70.1196 | 70.1196 | 202.4479 | 202.4479 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
128 | 70.3712 | 70.3712 | 201.7241 | 201.7241 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
129 | 70.6228 | 70.6228 | 201.0054 | 201.0054 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
130 | 70.8744 | 70.8744 | 200.2919 | 200.2919 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
131 | 71.126 | 71.126 | 199.5833 | 199.5833 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
132 | 71.3776 | 71.3776 | 198.8798 | 198.8798 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
133 | 71.6292 | 71.6292 | 198.1812 | 198.1812 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
134 | 71.8808 | 71.8808 | 197.4875 | 197.4875 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
135 | 72.1324 | 72.1324 | 196.7987 | 196.7987 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
136 | 72.384 | 72.384 | 196.1146 | 196.1146 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
137 | 72.6356 | 72.6356 | 195.4353 | 195.4353 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
138 | 72.8872 | 72.8872 | 194.7607 | 194.7607 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
139 | 73.1388 | 73.1388 | 194.0907 | 194.0907 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
140 | 73.3904 | 73.3904 | 193.4253 | 193.4253 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
141 | 73.642 | 73.642 | 192.7644 | 192.7644 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
142 | 73.8936 | 73.8936 | 192.1081 | 192.1081 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
143 | 74.1452 | 74.1452 | 191.4562 | 191.4562 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
144 | 74.3968 | 74.3968 | 190.8087 | 190.8087 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
145 | 74.6484 | 74.6484 | 190.1656 | 190.1656 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
146 | 74.9 | 74.9 | 189.5268 | 189.5268 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
147 | 75.1517 | 75.1517 | 188.8922 | 188.8922 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
148 | 75.4033 | 75.4033 | 188.2619 | 188.2619 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
149 | 75.6549 | 75.6549 | 187.6358 | 187.6358 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
150 | 75.9065 | 75.9065 | 187.0139 | 187.0139 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
151 | 76.1581 | 76.1581 | 186.3961 | 186.3961 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
152 | 76.4097 | 76.4097 | 185.7823 | 185.7823 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
153 | 76.6613 | 76.6613 | 185.1725 | 185.1725 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
154 | 76.9129 | 76.9129 | 184.5668 | 184.5668 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
155 | 77.1645 | 77.1645 | 183.965 | 183.965 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
156 | 77.4161 | 77.4161 | 183.3671 | 183.3671 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
157 | 77.6677 | 77.6677 | 182.7731 | 182.7731 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
158 | 77.9193 | 77.9193 | 182.1829 | 182.1829 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
159 | 78.1709 | 78.1709 | 181.5965 | 181.5965 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
160 | 78.4225 | 78.4225 | 181.0139 | 181.0139 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
161 | 78.6741 | 78.6741 | 180.435 | 180.435 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
162 | 78.9257 | 78.9257 | 179.8598 | 179.8598 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
163 | 79.1773 | 79.1773 | 179.2883 | 179.2883 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
164 | 79.4289 | 79.4289 | 178.7203 | 178.7203 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
165 | 79.6805 | 79.6805 | 178.156 | 178.156 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
166 | 79.9321 | 79.9321 | 177.5952 | 177.5952 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
167 | 80.1837 | 80.1837 | 177.038 | 177.038 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
168 | 80.4353 | 80.4353 | 176.4842 | 176.4842 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
169 | 80.6869 | 80.6869 | 175.9339 | 175.9339 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
170 | 80.9385 | 80.9385 | 175.3869 | 175.3869 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
171 | 81.1901 | 81.1901 | 174.8434 | 174.8434 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
172 | 81.4417 | 81.4417 | 174.3033 | 174.3033 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
173 | 81.6933 | 81.6933 | 173.7664 | 173.7664 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
174 | 81.945 | 81.945 | 173.2329 | 173.2329 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
175 | 82.1966 | 82.1966 | 172.7026 | 172.7026 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
176 | 82.4482 | 82.4482 | 172.1756 | 172.1756 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
177 | 82.6998 | 82.6998 | 171.6518 | 171.6518 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
178 | 82.9514 | 82.9514 | 171.1312 | 171.1312 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
179 | 83.203 | 83.203 | 170.6137 | 170.6137 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
180 | 83.4546 | 83.4546 | 170.0993 | 170.0993 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
181 | 83.7062 | 83.7062 | 169.588 | 169.588 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
182 | 83.9578 | 83.9578 | 169.0798 | 169.0798 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
183 | 84.2094 | 84.2094 | 168.5746 | 168.5746 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
184 | 84.461 | 84.461 | 168.0724 | 168.0724 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
185 | 84.7126 | 84.7126 | 167.5732 | 167.5732 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
186 | 84.9642 | 84.9642 | 167.077 | 167.077 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
187 | 85.2158 | 85.2158 | 166.5837 | 166.5837 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
188 | 85.4674 | 85.4674 | 166.0933 | 166.0933 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
189 | 85.719 | 85.719 | 165.6058 | 165.6058 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
190 | 85.9706 | 85.9706 | 165.1211 | 165.1211 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
191 | 86.2222 | 86.2222 | 164.6393 | 164.6393 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
192 | 86.4738 | 86.4738 | 164.1602 | 164.1602 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
193 | 86.7254 | 86.7254 | 163.684 | 163.684 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
194 | 86.977 | 86.977 | 163.2105 | 163.2105 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
195 | 87.2286 | 87.2286 | 162.7397 | 162.7397 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
196 | 87.4802 | 87.4802 | 162.2717 | 162.2717 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
197 | 87.7318 | 87.7318 | 161.8063 | 161.8063 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
198 | 87.9834 | 87.9834 | 161.3436 | 161.3436 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
199 | 88.235 | 88.235 | 160.8835 | 160.8835 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
200 | 88.4867 | 88.4867 | 160.426 | 160.426 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
201 | 88.7383 | 88.7383 | 159.9712 | 159.9712 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
202 | 88.9899 | 88.9899 | 159.5189 | 159.5189 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
203 | 89.2415 | 89.2415 | 159.0691 | 159.0691 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
204 | 89.4931 | 89.4931 | 158.6219 | 158.6219 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
205 | 89.7447 | 89.7447 | 158.1772 | 158.1772 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
206 | 89.9963 | 89.9963 | 157.735 | 157.735 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
207 | 90.2479 | 90.2479 | 157.2953 | 157.2953 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
208 | 90.4995 | 90.4995 | 156.8579 | 156.8579 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
209 | 90.7511 | 90.7511 | 156.4231 | 156.4231 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
210 | 91.0027 | 91.0027 | 155.9906 | 155.9906 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
211 | 91.2543 | 91.2543 | 155.5605 | 155.5605 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
212 | 91.5059 | 91.5059 | 155.1328 | 155.1328 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
213 | 91.7575 | 91.7575 | 154.7074 | 154.7074 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
214 | 92.0091 | 92.0091 | 154.2843 | 154.2843 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
215 | 92.2607 | 92.2607 | 153.8636 | 153.8636 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
216 | 92.5123 | 92.5123 | 153.4451 | 153.4451 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
217 | 92.7639 | 92.7639 | 153.0289 | 153.0289 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
218 | 93.0155 | 93.0155 | 152.615 | 152.615 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
219 | 93.2671 | 93.2671 | 152.2033 | 152.2033 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
220 | 93.5187 | 93.5187 | 151.7938 | 151.7938 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
221 | 93.7703 | 93.7703 | 151.3865 | 151.3865 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
222 | 94.0219 | 94.0219 | 150.9814 | 150.9814 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
223 | 94.2735 | 94.2735 | 150.5784 | 150.5784 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
224 | 94.5251 | 94.5251 | 150.1776 | 150.1776 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
225 | 94.7767 | 94.7767 | 149.779 | 149.779 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
226 | 95.0283 | 95.0283 | 149.3824 | 149.3824 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
227 | 95.28 | 95.28 | 148.9879 | 148.9879 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
228 | 95.5316 | 95.5316 | 148.5955 | 148.5955 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
229 | 95.7832 | 95.7832 | 148.2052 | 148.2052 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
230 | 96.0348 | 96.0348 | 147.8169 | 147.8169 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
231 | 96.2864 | 96.2864 | 147.4307 | 147.4307 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
232 | 96.538 | 96.538 | 147.0464 | 147.0464 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
233 | 96.7896 | 96.7896 | 146.6642 | 146.6642 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
234 | 97.0412 | 97.0412 | 146.2839 | 146.2839 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
235 | 97.2928 | 97.2928 | 145.9056 | 145.9056 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
236 | 97.5444 | 97.5444 | 145.5293 | 145.5293 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
237 | 97.796 | 97.796 | 145.1549 | 145.1549 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
238 | 98.0476 | 98.0476 | 144.7824 | 144.7824 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
239 | 98.2992 | 98.2992 | 144.4118 | 144.4118 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
240 | 98.5508 | 98.5508 | 144.0431 | 144.0431 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
241 | 98.8024 | 98.8024 | 143.6763 | 143.6763 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
242 | 99.054 | 99.054 | 143.3113 | 143.3113 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
243 | 99.3056 | 99.3056 | 142.9482 | 142.9482 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
244 | 99.5572 | 99.5572 | 142.587 | 142.587 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
245 | 99.8088 | 99.8088 | 142.2275 | 142.2275 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
246 | 100.0604 | 100.0604 | 141.8699 | 141.8699 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
247 | 100.312 | 100.312 | 141.5141 | 141.5141 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
248 | 100.5636 | 100.5636 | 141.16 | 141.16 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
249 | 100.8152 | 100.8152 | 140.8077 | 140.8077 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
250 | 101.0668 | 101.0668 | 140.4572 | 140.4572 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
251 | 101.3184 | 101.3184 | 140.1084 | 140.1084 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
252 | 101.57 | 101.57 | 139.7613 | 139.7613 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
253 | 101.8217 | 101.8217 | 139.416 | 139.416 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
254 | 102.0733 | 102.0733 | 139.0723 | 139.0723 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
255 | 102.3249 | 102.3249 | 138.7303 | 138.7303 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
256 | 102.5765 | 102.5765 | 138.3901 | 138.3901 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
257 | 102.8281 | 102.8281 | 138.0514 | 138.0514 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
258 | 103.0797 | 103.0797 | 137.7145 | 137.7145 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
259 | 103.3313 | 103.3313 | 137.3792 | 137.3792 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
260 | 103.5829 | 103.5829 | 137.0455 | 137.0455 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
261 | 103.8345 | 103.8345 | 136.7134 | 136.7134 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
262 | 104.0861 | 104.0861 | 136.3829 | 136.3829 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
263 | 104.3377 | 104.3377 | 136.054 | 136.054 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
264 | 104.5893 | 104.5893 | 135.7267 | 135.7267 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
265 | 104.8409 | 104.8409 | 135.401 | 135.401 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
266 | 105.0925 | 105.0925 | 135.0768 | 135.0768 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
267 | 105.3441 | 105.3441 | 134.7542 | 134.7542 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
268 | 105.5957 | 105.5957 | 134.4331 | 134.4331 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
269 | 105.8473 | 105.8473 | 134.1136 | 134.1136 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
270 | 106.0989 | 106.0989 | 133.7956 | 133.7956 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
271 | 106.3505 | 106.3505 | 133.479 | 133.479 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
272 | 106.6021 | 106.6021 | 133.164 | 133.164 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
273 | 106.8537 | 106.8537 | 132.8504 | 132.8504 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
274 | 107.1053 | 107.1053 | 132.5383 | 132.5383 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
275 | 107.3569 | 107.3569 | 132.2277 | 132.2277 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
276 | 107.6085 | 107.6085 | 131.9186 | 131.9186 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
277 | 107.8601 | 107.8601 | 131.6108 | 131.6108 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
278 | 108.1117 | 108.1117 | 131.3045 | 131.3045 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
279 | 108.3633 | 108.3633 | 130.9997 | 130.9997 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
280 | 108.615 | 108.615 | 130.6962 | 130.6962 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
281 | 108.8666 | 108.8666 | 130.3942 | 130.3942 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
282 | 109.1182 | 109.1182 | 130.0935 | 130.0935 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
283 | 109.3698 | 109.3698 | 129.7942 | 129.7942 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
284 | 109.6214 | 109.6214 | 129.4963 | 129.4963 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
285 | 109.873 | 109.873 | 129.1998 | 129.1998 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
286 | 110.1246 | 110.1246 | 128.9046 | 128.9046 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
287 | 110.3762 | 110.3762 | 128.6107 | 128.6107 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
288 | 110.6278 | 110.6278 | 128.3182 | 128.3182 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
289 | 110.8794 | 110.8794 | 128.0271 | 128.0271 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
290 | 111.131 | 111.131 | 127.7372 | 127.7372 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
291 | 111.3826 | 111.3826 | 127.4487 | 127.4487 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
292 | 111.6342 | 111.6342 | 127.1614 | 127.1614 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
293 | 111.8858 | 111.8858 | 126.8755 | 126.8755 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
294 | 112.1374 | 112.1374 | 126.5908 | 126.5908 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
295 | 112.389 | 112.389 | 126.3074 | 126.3074 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
296 | 112.6406 | 112.6406 | 126.0253 | 126.0253 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
297 | 112.8922 | 112.8922 | 125.7444 | 125.7444 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
298 | 113.1438 | 113.1438 | 125.4648 | 125.4648 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
299 | 113.3954 | 113.3954 | 125.1864 | 125.1864 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
300 | 113.647 | 113.647 | 124.9092 | 124.9092 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
301 | 113.8986 | 113.8986 | 124.6333 | 124.6333 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
302 | 114.1502 | 114.1502 | 124.3586 | 124.3586 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
303 | 114.4018 | 114.4018 | 124.0851 | 124.0851 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
304 | 114.6534 | 114.6534 | 123.8128 | 123.8128 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
305 | 114.905 | 114.905 | 123.5417 | 123.5417 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
306 | 115.1567 | 115.1567 | 123.2718 | 123.2718 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
307 | 115.4083 | 115.4083 | 123.003 | 123.003 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
308 | 115.6599 | 115.6599 | 122.7354 | 122.7354 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
309 | 115.9115 | 115.9115 | 122.469 | 122.469 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
310 | 116.1631 | 116.1631 | 122.2038 | 122.2038 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
311 | 116.4147 | 116.4147 | 121.9396 | 121.9396 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
312 | 116.6663 | 116.6663 | 121.6767 | 121.6767 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
313 | 116.9179 | 116.9179 | 121.4148 | 121.4148 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
314 | 117.1695 | 117.1695 | 121.1541 | 121.1541 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
315 | 117.4211 | 117.4211 | 120.8945 | 120.8945 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
316 | 117.6727 | 117.6727 | 120.636 | 120.636 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
317 | 117.9243 | 117.9243 | 120.3786 | 120.3786 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
318 | 118.1759 | 118.1759 | 120.1223 | 120.1223 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
319 | 118.4275 | 118.4275 | 119.8671 | 119.8671 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0