## field
PHENIX MUON Detector Wires
Tension calculation determines the frequency for forced oscillation of a taught wire.
the formula is T = 4*u*(f**2)*(l**2)/980; where:
T = tension in grams
u = linear density of wire in grams per centimeter
Density for tungsten = 19.35; BeCu = 8.55
l = length of wire in centimeters
f = frequency in cycles per second
Inputs: tension (grams) = |  |  |  |  | 75
wire density(gm/cm**3) = |  |  |  |  | 8.55 |  | wire radius(cm*10000) |  |  | 38.1
wire diameter (inch) = |  |  |  |  | 0.003 |  | wire diameter (cm) = |  |  | 0.00762
short wire length, left (in) = |  |  |  |  | 8.622 |  | short wire average length(cm)= |  |  | 21.9
short wire length, right (in) = |  |  |  |  | 8.622
long wire length, left (in) = |  |  |  |  | 30.5118 |  | long wire average length(cm)= |  |  | 77.5
long wire length, right (in) = |  |  |  |  | 30.5118 |  | holding calculation = |  |  | 13729.689
number of wires = |  |  |  |  | 141 |  | calculated linear density = |  |  | 0.00038991
number of oscillating loops = |  |  |  |  | 1 |  | wire increment (cm) = |  |  | 0.39714
[7 empty] | wire increment(cm)Left= |  |  | 0.39714
[5 empty] | Measured | Measured | **** Field Wires **** |  |  | % Error
|  |  | calculated | calculated | frequency | frequency | % Error | % Error | Average | between
wire # | length(L) | length(R) | frequency(L) | frequency(R) | left | right | left | right | % Error | left/right | Tension
1 | 21.9 | 21.9 | 313.4632 | 313.4632 |  |  | -100 | -100 | -100 | #DIV/0! | 0
2 | 22.2971 | 22.2971 | 307.88 | 307.88 |  |  | -100 | -100 | -100 | #DIV/0! | 0
3 | 22.6943 | 22.6943 | 302.4922 | 302.4922 |  |  | -100 | -100 | -100 | #DIV/0! | 0
4 | 23.0914 | 23.0914 | 297.2897 | 297.2897 |  |  | -100 | -100 | -100 | #DIV/0! | 0
5 | 23.4886 | 23.4886 | 292.2632 | 292.2632 |  |  | -100 | -100 | -100 | #DIV/0! | 0
6 | 23.8857 | 23.8857 | 287.4038 | 287.4038 |  |  | -100 | -100 | -100 | #DIV/0! | 0
7 | 24.2829 | 24.2829 | 282.7033 | 282.7033 |  |  | -100 | -100 | -100 | #DIV/0! | 0
8 | 24.68 | 24.68 | 278.1542 | 278.1542 |  |  | -100 | -100 | -100 | #DIV/0! | 0
9 | 25.0771 | 25.0771 | 273.7491 | 273.7491 |  |  | -100 | -100 | -100 | #DIV/0! | 0
10 | 25.4743 | 25.4743 | 269.4813 | 269.4813 |  |  | -100 | -100 | -100 | #DIV/0! | 0
11 | 25.8714 | 25.8714 | 265.3446 | 265.3446 |  |  | -100 | -100 | -100 | #DIV/0! | 0
12 | 26.2686 | 26.2686 | 261.333 | 261.333 |  |  | -100 | -100 | -100 | #DIV/0! | 0
13 | 26.6657 | 26.6657 | 257.4409 | 257.4409 |  |  | -100 | -100 | -100 | #DIV/0! | 0
14 | 27.0629 | 27.0629 | 253.663 | 253.663 |  |  | -100 | -100 | -100 | #DIV/0! | 0
15 | 27.46 | 27.46 | 249.9943 | 249.9943 |  |  | -100 | -100 | -100 | #DIV/0! | 0
16 | 27.8571 | 27.8571 | 246.4303 | 246.4303 |  |  | -100 | -100 | -100 | #DIV/0! | 0
17 | 28.2543 | 28.2543 | 242.9665 | 242.9665 |  |  | -100 | -100 | -100 | #DIV/0! | 0
18 | 28.6514 | 28.6514 | 239.5987 | 239.5987 |  |  | -100 | -100 | -100 | #DIV/0! | 0
19 | 29.0486 | 29.0486 | 236.323 | 236.323 |  |  | -100 | -100 | -100 | #DIV/0! | 0
20 | 29.4457 | 29.4457 | 233.1356 | 233.1356 |  |  | -100 | -100 | -100 | #DIV/0! | 0
21 | 29.8429 | 29.8429 | 230.0331 | 230.0331 |  |  | -100 | -100 | -100 | #DIV/0! | 0
22 | 30.24 | 30.24 | 227.0121 | 227.0121 |  |  | -100 | -100 | -100 | #DIV/0! | 0
23 | 30.6371 | 30.6371 | 224.0693 | 224.0693 |  |  | -100 | -100 | -100 | #DIV/0! | 0
24 | 31.0343 | 31.0343 | 221.2019 | 221.2019 |  |  | -100 | -100 | -100 | #DIV/0! | 0
25 | 31.4314 | 31.4314 | 218.407 | 218.407 |  |  | -100 | -100 | -100 | #DIV/0! | 0
26 | 31.8286 | 31.8286 | 215.6818 | 215.6818 |  |  | -100 | -100 | -100 | #DIV/0! | 0
27 | 32.2257 | 32.2257 | 213.0238 | 213.0238 |  |  | -100 | -100 | -100 | #DIV/0! | 0
28 | 32.6229 | 32.6229 | 210.4305 | 210.4305 |  |  | -100 | -100 | -100 | #DIV/0! | 0
29 | 33.02 | 33.02 | 207.8996 | 207.8996 | 274.54 |  | 32.0541 | -100 | -33.9729 | 100 | 130.7872
30 | 33.4171 | 33.4171 | 205.4288 | 205.4288 |  |  | -100 | -100 | -100 | #DIV/0! | 0
31 | 33.8143 | 33.8143 | 203.0161 | 203.0161 |  |  | -100 | -100 | -100 | #DIV/0! | 0
32 | 34.2114 | 34.2114 | 200.6594 | 200.6594 |  |  | -100 | -100 | -100 | #DIV/0! | 0
33 | 34.6086 | 34.6086 | 198.3568 | 198.3568 |  |  | -100 | -100 | -100 | #DIV/0! | 0
34 | 35.0057 | 35.0057 | 196.1064 | 196.1064 |  |  | -100 | -100 | -100 | #DIV/0! | 0
35 | 35.4029 | 35.4029 | 193.9065 | 193.9065 |  |  | -100 | -100 | -100 | #DIV/0! | 0
36 | 35.8 | 35.8 | 191.7554 | 191.7554 |  |  | -100 | -100 | -100 | #DIV/0! | 0
37 | 36.1971 | 36.1971 | 189.6516 | 189.6516 |  |  | -100 | -100 | -100 | #DIV/0! | 0
38 | 36.5943 | 36.5943 | 187.5933 | 187.5933 |  |  | -100 | -100 | -100 | #DIV/0! | 0
39 | 36.9914 | 36.9914 | 185.5793 | 185.5793 |  |  | -100 | -100 | -100 | #DIV/0! | 0
40 | 37.3886 | 37.3886 | 183.6081 | 183.6081 |  |  | -100 | -100 | -100 | #DIV/0! | 0
41 | 37.7857 | 37.7857 | 181.6783 | 181.6783 |  |  | -100 | -100 | -100 | #DIV/0! | 0
42 | 38.1829 | 38.1829 | 179.7887 | 179.7887 |  |  | -100 | -100 | -100 | #DIV/0! | 0
43 | 38.58 | 38.58 | 177.9379 | 177.9379 |  |  | -100 | -100 | -100 | #DIV/0! | 0
44 | 38.9771 | 38.9771 | 176.1249 | 176.1249 |  |  | -100 | -100 | -100 | #DIV/0! | 0
45 | 39.3743 | 39.3743 | 174.3484 | 174.3484 |  |  | -100 | -100 | -100 | #DIV/0! | 0
46 | 39.7714 | 39.7714 | 172.6074 | 172.6074 |  |  | -100 | -100 | -100 | #DIV/0! | 0
47 | 40.1686 | 40.1686 | 170.9009 | 170.9009 |  |  | -100 | -100 | -100 | #DIV/0! | 0
48 | 40.5657 | 40.5657 | 169.2277 | 169.2277 |  |  | -100 | -100 | -100 | #DIV/0! | 0
49 | 40.9629 | 40.9629 | 167.5871 | 167.5871 |  |  | -100 | -100 | -100 | #DIV/0! | 0
50 | 41.36 | 41.36 | 165.9779 | 165.9779 |  |  | -100 | -100 | -100 | #DIV/0! | 0
51 | 41.7571 | 41.7571 | 164.3993 | 164.3993 |  |  | -100 | -100 | -100 | #DIV/0! | 0
52 | 42.1543 | 42.1543 | 162.8505 | 162.8505 |  |  | -100 | -100 | -100 | #DIV/0! | 0
53 | 42.5514 | 42.5514 | 161.3305 | 161.3305 |  |  | -100 | -100 | -100 | #DIV/0! | 0
54 | 42.9486 | 42.9486 | 159.8387 | 159.8387 |  |  | -100 | -100 | -100 | #DIV/0! | 0
55 | 43.3457 | 43.3457 | 158.3742 | 158.3742 |  |  | -100 | -100 | -100 | #DIV/0! | 0
56 | 43.7429 | 43.7429 | 156.9364 | 156.9364 |  |  | -100 | -100 | -100 | #DIV/0! | 0
57 | 44.14 | 44.14 | 155.5243 | 155.5243 |  |  | -100 | -100 | -100 | #DIV/0! | 0
58 | 44.5371 | 44.5371 | 154.1375 | 154.1375 |  |  | -100 | -100 | -100 | #DIV/0! | 0
59 | 44.9343 | 44.9343 | 152.7752 | 152.7752 |  |  | -100 | -100 | -100 | #DIV/0! | 0
60 | 45.3314 | 45.3314 | 151.4368 | 151.4368 |  |  | -100 | -100 | -100 | #DIV/0! | 0
61 | 45.7286 | 45.7286 | 150.1216 | 150.1216 |  |  | -100 | -100 | -100 | #DIV/0! | 0
62 | 46.1257 | 46.1257 | 148.829 | 148.829 |  |  | -100 | -100 | -100 | #DIV/0! | 0
63 | 46.5229 | 46.5229 | 147.5585 | 147.5585 |  |  | -100 | -100 | -100 | #DIV/0! | 0
64 | 46.92 | 46.92 | 146.3096 | 146.3096 |  |  | -100 | -100 | -100 | #DIV/0! | 0
65 | 47.3171 | 47.3171 | 145.0816 | 145.0816 |  |  | -100 | -100 | -100 | #DIV/0! | 0
66 | 47.7143 | 47.7143 | 143.874 | 143.874 |  |  | -100 | -100 | -100 | #DIV/0! | 0
67 | 48.1114 | 48.1114 | 142.6864 | 142.6864 |  |  | -100 | -100 | -100 | #DIV/0! | 0
68 | 48.5086 | 48.5086 | 141.5182 | 141.5182 |  |  | -100 | -100 | -100 | #DIV/0! | 0
69 | 48.9057 | 48.9057 | 140.369 | 140.369 |  |  | -100 | -100 | -100 | #DIV/0! | 0
70 | 49.3029 | 49.3029 | 139.2383 | 139.2383 |  |  | -100 | -100 | -100 | #DIV/0! | 0
71 | 49.7 | 49.7 | 138.1256 | 138.1256 |  |  | -100 | -100 | -100 | #DIV/0! | 0
72 | 50.0971 | 50.0971 | 137.0307 | 137.0307 |  |  | -100 | -100 | -100 | #DIV/0! | 0
73 | 50.4943 | 50.4943 | 135.9529 | 135.9529 |  |  | -100 | -100 | -100 | #DIV/0! | 0
74 | 50.8914 | 50.8914 | 134.892 | 134.892 |  |  | -100 | -100 | -100 | #DIV/0! | 0
75 | 51.2886 | 51.2886 | 133.8475 | 133.8475 |  |  | -100 | -100 | -100 | #DIV/0! | 0
76 | 51.6857 | 51.6857 | 132.819 | 132.819 |  |  | -100 | -100 | -100 | #DIV/0! | 0
77 | 52.0829 | 52.0829 | 131.8062 | 131.8062 |  |  | -100 | -100 | -100 | #DIV/0! | 0
78 | 52.48 | 52.48 | 130.8088 | 130.8088 |  |  | -100 | -100 | -100 | #DIV/0! | 0
79 | 52.8771 | 52.8771 | 129.8263 | 129.8263 |  |  | -100 | -100 | -100 | #DIV/0! | 0
80 | 53.2743 | 53.2743 | 128.8585 | 128.8585 |  |  | -100 | -100 | -100 | #DIV/0! | 0
81 | 53.6714 | 53.6714 | 127.905 | 127.905 |  |  | -100 | -100 | -100 | #DIV/0! | 0
82 | 54.0686 | 54.0686 | 126.9655 | 126.9655 |  |  | -100 | -100 | -100 | #DIV/0! | 0
83 | 54.4657 | 54.4657 | 126.0397 | 126.0397 |  |  | -100 | -100 | -100 | #DIV/0! | 0
84 | 54.8629 | 54.8629 | 125.1274 | 125.1274 |  |  | -100 | -100 | -100 | #DIV/0! | 0
85 | 55.26 | 55.26 | 124.2281 | 124.2281 |  |  | -100 | -100 | -100 | #DIV/0! | 0
86 | 55.6571 | 55.6571 | 123.3417 | 123.3417 |  |  | -100 | -100 | -100 | #DIV/0! | 0
87 | 56.0543 | 56.0543 | 122.4678 | 122.4678 |  |  | -100 | -100 | -100 | #DIV/0! | 0
88 | 56.4514 | 56.4514 | 121.6062 | 121.6062 |  |  | -100 | -100 | -100 | #DIV/0! | 0
89 | 56.8486 | 56.8486 | 120.7567 | 120.7567 |  |  | -100 | -100 | -100 | #DIV/0! | 0
90 | 57.2457 | 57.2457 | 119.9189 | 119.9189 |  |  | -100 | -100 | -100 | #DIV/0! | 0
91 | 57.6429 | 57.6429 | 119.0927 | 119.0927 |  |  | -100 | -100 | -100 | #DIV/0! | 0
92 | 58.04 | 58.04 | 118.2778 | 118.2778 |  |  | -100 | -100 | -100 | #DIV/0! | 0
93 | 58.4371 | 58.4371 | 117.474 | 117.474 |  |  | -100 | -100 | -100 | #DIV/0! | 0
94 | 58.8343 | 58.8343 | 116.681 | 116.681 |  |  | -100 | -100 | -100 | #DIV/0! | 0
95 | 59.2314 | 59.2314 | 115.8987 | 115.8987 |  |  | -100 | -100 | -100 | #DIV/0! | 0
96 | 59.6286 | 59.6286 | 115.1268 | 115.1268 |  |  | -100 | -100 | -100 | #DIV/0! | 0
97 | 60.0257 | 60.0257 | 114.3651 | 114.3651 |  |  | -100 | -100 | -100 | #DIV/0! | 0
98 | 60.4229 | 60.4229 | 113.6134 | 113.6134 |  |  | -100 | -100 | -100 | #DIV/0! | 0
99 | 60.82 | 60.82 | 112.8715 | 112.8715 |  |  | -100 | -100 | -100 | #DIV/0! | 0
100 | 61.2171 | 61.2171 | 112.1393 | 112.1393 |  |  | -100 | -100 | -100 | #DIV/0! | 0
101 | 61.6143 | 61.6143 | 111.4164 | 111.4164 |  |  | -100 | -100 | -100 | #DIV/0! | 0
102 | 62.0114 | 62.0114 | 110.7029 | 110.7029 |  |  | -100 | -100 | -100 | #DIV/0! | 0
103 | 62.4086 | 62.4086 | 109.9984 | 109.9984 |  |  | -100 | -100 | -100 | #DIV/0! | 0
104 | 62.8057 | 62.8057 | 109.3029 | 109.3029 |  |  | -100 | -100 | -100 | #DIV/0! | 0
105 | 63.2029 | 63.2029 | 108.616 | 108.616 |  |  | -100 | -100 | -100 | #DIV/0! | 0
106 | 63.6 | 63.6 | 107.9378 | 107.9378 |  |  | -100 | -100 | -100 | #DIV/0! | 0
107 | 63.9971 | 63.9971 | 107.268 | 107.268 |  |  | -100 | -100 | -100 | #DIV/0! | 0
108 | 64.3943 | 64.3943 | 106.6064 | 106.6064 |  |  | -100 | -100 | -100 | #DIV/0! | 0
109 | 64.7914 | 64.7914 | 105.953 | 105.953 |  |  | -100 | -100 | -100 | #DIV/0! | 0
110 | 65.1886 | 65.1886 | 105.3075 | 105.3075 |  |  | -100 | -100 | -100 | #DIV/0! | 0
111 | 65.5857 | 65.5857 | 104.6698 | 104.6698 |  |  | -100 | -100 | -100 | #DIV/0! | 0
112 | 65.9829 | 65.9829 | 104.0398 | 104.0398 |  |  | -100 | -100 | -100 | #DIV/0! | 0
113 | 66.38 | 66.38 | 103.4174 | 103.4174 |  |  | -100 | -100 | -100 | #DIV/0! | 0
114 | 66.7771 | 66.7771 | 102.8023 | 102.8023 |  |  | -100 | -100 | -100 | #DIV/0! | 0
115 | 67.1743 | 67.1743 | 102.1945 | 102.1945 |  |  | -100 | -100 | -100 | #DIV/0! | 0
116 | 67.5714 | 67.5714 | 101.5939 | 101.5939 |  |  | -100 | -100 | -100 | #DIV/0! | 0
117 | 67.9686 | 67.9686 | 101.0003 | 101.0003 |  |  | -100 | -100 | -100 | #DIV/0! | 0
118 | 68.3657 | 68.3657 | 100.4136 | 100.4136 |  |  | -100 | -100 | -100 | #DIV/0! | 0
119 | 68.7629 | 68.7629 | 99.8336 | 99.8336 |  |  | -100 | -100 | -100 | #DIV/0! | 0
120 | 69.16 | 69.16 | 99.2603 | 99.2603 |  |  | -100 | -100 | -100 | #DIV/0! | 0
121 | 69.5571 | 69.5571 | 98.6936 | 98.6936 |  |  | -100 | -100 | -100 | #DIV/0! | 0
122 | 69.9543 | 69.9543 | 98.1333 | 98.1333 |  |  | -100 | -100 | -100 | #DIV/0! | 0
123 | 70.3514 | 70.3514 | 97.5793 | 97.5793 |  |  | -100 | -100 | -100 | #DIV/0! | 0
124 | 70.7486 | 70.7486 | 97.0316 | 97.0316 |  |  | -100 | -100 | -100 | #DIV/0! | 0
125 | 71.1457 | 71.1457 | 96.4899 | 96.4899 |  |  | -100 | -100 | -100 | #DIV/0! | 0
126 | 71.5429 | 71.5429 | 95.9543 | 95.9543 |  |  | -100 | -100 | -100 | #DIV/0! | 0
127 | 71.94 | 71.94 | 95.4246 | 95.4246 |  |  | -100 | -100 | -100 | #DIV/0! | 0
128 | 72.3371 | 72.3371 | 94.9007 | 94.9007 |  |  | -100 | -100 | -100 | #DIV/0! | 0
129 | 72.7343 | 72.7343 | 94.3825 | 94.3825 |  |  | -100 | -100 | -100 | #DIV/0! | 0
130 | 73.1314 | 73.1314 | 93.87 | 93.87 |  |  | -100 | -100 | -100 | #DIV/0! | 0
131 | 73.5286 | 73.5286 | 93.363 | 93.363 |  |  | -100 | -100 | -100 | #DIV/0! | 0
132 | 73.9257 | 73.9257 | 92.8614 | 92.8614 |  |  | -100 | -100 | -100 | #DIV/0! | 0
133 | 74.3229 | 74.3229 | 92.3652 | 92.3652 |  |  | -100 | -100 | -100 | #DIV/0! | 0
134 | 74.72 | 74.72 | 91.8743 | 91.8743 |  |  | -100 | -100 | -100 | #DIV/0! | 0
135 | 75.1171 | 75.1171 | 91.3885 | 91.3885 |  |  | -100 | -100 | -100 | #DIV/0! | 0
136 | 75.5143 | 75.5143 | 90.9079 | 90.9079 |  |  | -100 | -100 | -100 | #DIV/0! | 0
137 | 75.9114 | 75.9114 | 90.4323 | 90.4323 |  |  | -100 | -100 | -100 | #DIV/0! | 0
138 | 76.3086 | 76.3086 | 89.9616 | 89.9616 |  |  | -100 | -100 | -100 | #DIV/0! | 0
139 | 76.7057 | 76.7057 | 89.4959 | 89.4959 |  |  | -100 | -100 | -100 | #DIV/0! | 0
140 | 77.1029 | 77.1029 | 89.0349 | 89.0349 |  |  | -100 | -100 | -100 | #DIV/0! | 0
141 | 77.5 | 77.5 | 88.5786 | 88.5786 |  |  | -100 | -100 | -100 | #DIV/0! | 0

## anode
PHENIX MUON Detector Wires
Tension calculation determines the frequency for forced oscillation of a taught wire.
the formula is T = 4*u*(f**2)*(l**2)/980; where:
T = tension in grams
u = linear density of wire in grams per centimeter
Density for tungsten = 19.35; BeCu = 8.55 | [5 empty] | 2248.5
l = length of wire in centimeters
f = frequency in cycles per second
Inputs: tension (grams) = |  |  |  |  | 50
wire density(gm/cm**3) = |  |  |  |  | 19.35 |  | wire radius(cm*10000) |  |  | 10
wire diameter (inch) = |  |  |  |  | 0.0007874 |  | wire diameter (cm) = |  |  | 0.002
short wire length, left (in) = |  |  |  |  | 8.622 |  | short wire average length(cm)= |  |  | 21.9
short wire length, right (in) = |  |  |  |  | 8.622
long wire length, left (in) = |  |  |  |  | 30.5118 |  | long wire average length(cm)= |  |  | 77.5
long wire length, right (in) = |  |  |  |  | 30.5118 |  | holding calculation = |  |  | 28391.1261
number of wires = |  |  |  |  | 140 |  | calculated linear density = |  |  | 6.079e-05
number of oscillating loops = |  |  |  |  | 1 |  | wire increment (cm) = |  |  | 0.4
[7 empty] | wire increment(cm)Left= |  |  | 0.4
[5 empty] | Measured | Measured | **** Field Wires **** |  |  | % Error
|  |  | calculated | calculated | frequency | frequency | % Error | % Error | Average | between
wire # | length(L) | length(R) | frequency(L) | frequency(R) | left | right | left | right | % Error | left/right | Tension | Measured Tension | error
1 | 21.9 | 21.9 | 648.1992 | 648.1992 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 50 | 0
2 | 22.3 | 22.3 | 636.5723 | 636.5723 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
3 | 22.7 | 22.7 | 625.3552 | 625.3552 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
4 | 23.1 | 23.1 | 614.5265 | 614.5265 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
5 | 23.5 | 23.5 | 604.0665 | 604.0665 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
6 | 23.9 | 23.9 | 593.9566 | 593.9566 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
7 | 24.3 | 24.3 | 584.1796 | 584.1796 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
8 | 24.7 | 24.7 | 574.7192 | 574.7192 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
9 | 25.1 | 25.1 | 565.5603 | 565.5603 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
10 | 25.5 | 25.5 | 556.6887 | 556.6887 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
11 | 25.9 | 25.9 | 548.0912 | 548.0912 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
12 | 26.3 | 26.3 | 539.7552 | 539.7552 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
13 | 26.7 | 26.7 | 531.669 | 531.669 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
14 | 27.1 | 27.1 | 523.8215 | 523.8215 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
15 | 27.5 | 27.5 | 516.2023 | 516.2023 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
16 | 27.9 | 27.9 | 508.8015 | 508.8015 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
17 | 28.3 | 28.3 | 501.61 | 501.61 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
18 | 28.7 | 28.7 | 494.6189 | 494.6189 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
19 | 29.1 | 29.1 | 487.82 | 487.82 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
20 | 29.5 | 29.5 | 481.2055 | 481.2055 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
21 | 29.9 | 29.9 | 474.768 | 474.768 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
22 | 30.3 | 30.3 | 468.5004 | 468.5004 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
23 | 30.7 | 30.7 | 462.3962 | 462.3962 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
24 | 31.1 | 31.1 | 456.449 | 456.449 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
25 | 31.5 | 31.5 | 450.6528 | 450.6528 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
26 | 31.9 | 31.9 | 445.002 | 445.002 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
27 | 32.3 | 32.3 | 439.4911 | 439.4911 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
28 | 32.7 | 32.7 | 434.1151 | 434.1151 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
29 | 33.1 | 33.1 | 428.869 | 428.869 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
30 | 33.5 | 33.5 | 423.7482 | 423.7482 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
31 | 33.9 | 33.9 | 418.7482 | 418.7482 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
32 | 34.3 | 34.3 | 413.8648 | 413.8648 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
33 | 34.7 | 34.7 | 409.094 | 409.094 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
34 | 35.1 | 35.1 | 404.432 | 404.432 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
35 | 35.5 | 35.5 | 399.875 | 399.875 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
36 | 35.9 | 35.9 | 395.4196 | 395.4196 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
37 | 36.3 | 36.3 | 391.0623 | 391.0623 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
38 | 36.7 | 36.7 | 386.8001 | 386.8001 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
39 | 37.1 | 37.1 | 382.6297 | 382.6297 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
40 | 37.5 | 37.5 | 378.5483 | 378.5483 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
41 | 37.9 | 37.9 | 374.5531 | 374.5531 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
42 | 38.3 | 38.3 | 370.6413 | 370.6413 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
43 | 38.7 | 38.7 | 366.8104 | 366.8104 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
44 | 39.1 | 39.1 | 363.0579 | 363.0579 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
45 | 39.5 | 39.5 | 359.3813 | 359.3813 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
46 | 39.9 | 39.9 | 355.7785 | 355.7785 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
47 | 40.3 | 40.3 | 352.2472 | 352.2472 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
48 | 40.7 | 40.7 | 348.7853 | 348.7853 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
49 | 41.1 | 41.1 | 345.3908 | 345.3908 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
50 | 41.5 | 41.5 | 342.0618 | 342.0618 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
51 | 41.9 | 41.9 | 338.7963 | 338.7963 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
52 | 42.3 | 42.3 | 335.5925 | 335.5925 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
53 | 42.7 | 42.7 | 332.4488 | 332.4488 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
54 | 43.1 | 43.1 | 329.3634 | 329.3634 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
55 | 43.5 | 43.5 | 326.3348 | 326.3348 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
56 | 43.9 | 43.9 | 323.3613 | 323.3613 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
57 | 44.3 | 44.3 | 320.4416 | 320.4416 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
58 | 44.7 | 44.7 | 317.5741 | 317.5741 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
59 | 45.1 | 45.1 | 314.7575 | 314.7575 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
60 | 45.5 | 45.5 | 311.9904 | 311.9904 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
61 | 45.9 | 45.9 | 309.2715 | 309.2715 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
62 | 46.3 | 46.3 | 306.5996 | 306.5996 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
63 | 46.7 | 46.7 | 303.9735 | 303.9735 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
64 | 47.1 | 47.1 | 301.392 | 301.392 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
65 | 47.5 | 47.5 | 298.854 | 298.854 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
66 | 47.9 | 47.9 | 296.3583 | 296.3583 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
67 | 48.3 | 48.3 | 293.904 | 293.904 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
68 | 48.7 | 48.7 | 291.49 | 291.49 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
69 | 49.1 | 49.1 | 289.1153 | 289.1153 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
70 | 49.5 | 49.5 | 286.7791 | 286.7791 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
71 | 49.9 | 49.9 | 284.4802 | 284.4802 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
72 | 50.3 | 50.3 | 282.218 | 282.218 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
73 | 50.7 | 50.7 | 279.9914 | 279.9914 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
74 | 51.1 | 51.1 | 277.7997 | 277.7997 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
75 | 51.5 | 51.5 | 275.642 | 275.642 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
76 | 51.9 | 51.9 | 273.5176 | 273.5176 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
77 | 52.3 | 52.3 | 271.4257 | 271.4257 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
78 | 52.7 | 52.7 | 269.3655 | 269.3655 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
79 | 53.1 | 53.1 | 267.3364 | 267.3364 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
80 | 53.5 | 53.5 | 265.3376 | 265.3376 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
81 | 53.9 | 53.9 | 263.3685 | 263.3685 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
82 | 54.3 | 54.3 | 261.4284 | 261.4284 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
83 | 54.7 | 54.7 | 259.5167 | 259.5167 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
84 | 55.1 | 55.1 | 257.6327 | 257.6327 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
85 | 55.5 | 55.5 | 255.7759 | 255.7759 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
86 | 55.9 | 55.9 | 253.9457 | 253.9457 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
87 | 56.3 | 56.3 | 252.1414 | 252.1414 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
88 | 56.7 | 56.7 | 250.3627 | 250.3627 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
89 | 57.1 | 57.1 | 248.6088 | 248.6088 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
90 | 57.5 | 57.5 | 246.8794 | 246.8794 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
91 | 57.9 | 57.9 | 245.1738 | 245.1738 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
92 | 58.3 | 58.3 | 243.4916 | 243.4916 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
93 | 58.7 | 58.7 | 241.8324 | 241.8324 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
94 | 59.1 | 59.1 | 240.1957 | 240.1957 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
95 | 59.5 | 59.5 | 238.5809 | 238.5809 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
96 | 59.9 | 59.9 | 236.9877 | 236.9877 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
97 | 60.3 | 60.3 | 235.4156 | 235.4156 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
98 | 60.7 | 60.7 | 233.8643 | 233.8643 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
99 | 61.1 | 61.1 | 232.3333 | 232.3333 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
100 | 61.5 | 61.5 | 230.8222 | 230.8222 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
101 | 61.9 | 61.9 | 229.3306 | 229.3306 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
102 | 62.3 | 62.3 | 227.8582 | 227.8582 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
103 | 62.7 | 62.7 | 226.4045 | 226.4045 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
104 | 63.1 | 63.1 | 224.9693 | 224.9693 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
105 | 63.5 | 63.5 | 223.5522 | 223.5522 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
106 | 63.9 | 63.9 | 222.1528 | 222.1528 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
107 | 64.3 | 64.3 | 220.7708 | 220.7708 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
108 | 64.7 | 64.7 | 219.4059 | 219.4059 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
109 | 65.1 | 65.1 | 218.0578 | 218.0578 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
110 | 65.5 | 65.5 | 216.7262 | 216.7262 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
111 | 65.9 | 65.9 | 215.4107 | 215.4107 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
112 | 66.3 | 66.3 | 214.1111 | 214.1111 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
113 | 66.7 | 66.7 | 212.827 | 212.827 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
114 | 67.1 | 67.1 | 211.5583 | 211.5583 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
115 | 67.5 | 67.5 | 210.3046 | 210.3046 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
116 | 67.9 | 67.9 | 209.0657 | 209.0657 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
117 | 68.3 | 68.3 | 207.8413 | 207.8413 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
118 | 68.7 | 68.7 | 206.6312 | 206.6312 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
119 | 69.1 | 69.1 | 205.4351 | 205.4351 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
120 | 69.5 | 69.5 | 204.2527 | 204.2527 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
121 | 69.9 | 69.9 | 203.0839 | 203.0839 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
122 | 70.3 | 70.3 | 201.9284 | 201.9284 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
123 | 70.7 | 70.7 | 200.7859 | 200.7859 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
124 | 71.1 | 71.1 | 199.6563 | 199.6563 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
125 | 71.5 | 71.5 | 198.5393 | 198.5393 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
126 | 71.9 | 71.9 | 197.4348 | 197.4348 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
127 | 72.3 | 72.3 | 196.3425 | 196.3425 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
128 | 72.7 | 72.7 | 195.2622 | 195.2622 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
129 | 73.1 | 73.1 | 194.1937 | 194.1937 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
130 | 73.5 | 73.5 | 193.1369 | 193.1369 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
131 | 73.9 | 73.9 | 192.0915 | 192.0915 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
132 | 74.3 | 74.3 | 191.0574 | 191.0574 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
133 | 74.7 | 74.7 | 190.0343 | 190.0343 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
134 | 75.1 | 75.1 | 189.0221 | 189.0221 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
135 | 75.5 | 75.5 | 188.0207 | 188.0207 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
136 | 75.9 | 75.9 | 187.0298 | 187.0298 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
137 | 76.3 | 76.3 | 186.0493 | 186.0493 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
138 | 76.7 | 76.7 | 185.079 | 185.079 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
139 | 77.1 | 77.1 | 184.1188 | 184.1188 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
140 | 77.5 | 77.5 | 183.1686 | 183.1686 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
141 | 77.9 | 77.9 | 182.228 | 182.228 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
142 | 78.3 | 78.3 | 181.2971 | 181.2971 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
143 | 78.7 | 78.7 | 180.3756 | 180.3756 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
144 | 79.1 | 79.1 | 179.4635 | 179.4635 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
145 | 79.5 | 79.5 | 178.5605 | 178.5605 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
146 | 79.9 | 79.9 | 177.6666 | 177.6666 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
147 | 80.3 | 80.3 | 176.7816 | 176.7816 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
148 | 80.7 | 80.7 | 175.9054 | 175.9054 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
149 | 81.1 | 81.1 | 175.0378 | 175.0378 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
150 | 81.5 | 81.5 | 174.1787 | 174.1787 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
151 | 81.9 | 81.9 | 173.328 | 173.328 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
152 | 82.3 | 82.3 | 172.4856 | 172.4856 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
153 | 82.7 | 82.7 | 171.6513 | 171.6513 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
154 | 83.1 | 83.1 | 170.8251 | 170.8251 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
155 | 83.5 | 83.5 | 170.0067 | 170.0067 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
156 | 83.9 | 83.9 | 169.1962 | 169.1962 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
157 | 84.3 | 84.3 | 168.3934 | 168.3934 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
158 | 84.7 | 84.7 | 167.5981 | 167.5981 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
159 | 85.1 | 85.1 | 166.8104 | 166.8104 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
160 | 85.5 | 85.5 | 166.03 | 166.03 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
161 | 85.9 | 85.9 | 165.2568 | 165.2568 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
162 | 86.3 | 86.3 | 164.4909 | 164.4909 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
163 | 86.7 | 86.7 | 163.732 | 163.732 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
164 | 87.1 | 87.1 | 162.9801 | 162.9801 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
165 | 87.5 | 87.5 | 162.235 | 162.235 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
166 | 87.9 | 87.9 | 161.4967 | 161.4967 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
167 | 88.3 | 88.3 | 160.7652 | 160.7652 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
168 | 88.7 | 88.7 | 160.0402 | 160.0402 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
169 | 89.1 | 89.1 | 159.3217 | 159.3217 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
170 | 89.5 | 89.5 | 158.6096 | 158.6096 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
171 | 89.9 | 89.9 | 157.9039 | 157.9039 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
172 | 90.3 | 90.3 | 157.2045 | 157.2045 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
173 | 90.7 | 90.7 | 156.5112 | 156.5112 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
174 | 91.1 | 91.1 | 155.824 | 155.824 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
175 | 91.5 | 91.5 | 155.1428 | 155.1428 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
176 | 91.9 | 91.9 | 154.4675 | 154.4675 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
177 | 92.3 | 92.3 | 153.7981 | 153.7981 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
178 | 92.7 | 92.7 | 153.1344 | 153.1344 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
179 | 93.1 | 93.1 | 152.4765 | 152.4765 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
180 | 93.5 | 93.5 | 151.8242 | 151.8242 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
181 | 93.9 | 93.9 | 151.1775 | 151.1775 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
182 | 94.3 | 94.3 | 150.5362 | 150.5362 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
183 | 94.7 | 94.7 | 149.9003 | 149.9003 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
184 | 95.1 | 95.1 | 149.2699 | 149.2699 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
185 | 95.5 | 95.5 | 148.6446 | 148.6446 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
186 | 95.9 | 95.9 | 148.0246 | 148.0246 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
187 | 96.3 | 96.3 | 147.4098 | 147.4098 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
188 | 96.7 | 96.7 | 146.8 | 146.8 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
189 | 97.1 | 97.1 | 146.1953 | 146.1953 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
190 | 97.5 | 97.5 | 145.5955 | 145.5955 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0
191 | 97.9 | 97.9 | 145.0006 | 145.0006 |  |  | -100 | -100 | -100 | #DIV/0! | 50 | 0